F U L L - T I M E   D I P L O M A   C O U R S E   I N

C I V I L   E N G I N E E R I N G

C U R R I C U L A R   S T R U C T U R E

A N D

S Y L L A B I

W E S T   B E N G A L   S T A T E   C O U N C I L   O F   T E C H N I C A L   E D U C A T I O N

"KOLKATA KARIGORI BHAVAN", 2ND FLOOR, 110 S N BANERJEE ROAD

K O L K A T A   –   7 0 0   0 1 3

## F O R E W A R D

The West Bengal State Council of Technical Education is presently offering twenty-five full-time diploma courses in 43 polytechnics affiliated to it, 42 in West Bengal and 1 in Tripura. The courses being: —

- Architecture,

- Automobile Engineering,

- Chemical Engineering,

- Civil Engineering,

- Computer Science & Technology,

- Computer Software Technology,

- Electrical Engineering,

- Electronics & Tele-Communication Engineering,

- Food Processing Technology,

- Foot Wear Technology,

- Information Technology,

- Instrumentation Technology,

- Interior Decoration, Handicrafts & Furniture Design,

- Marine Engineering,

- Mechanical Engineering,

- Medical Laboratory Technology,

- Metallurgical Engineering,

- Mine Surveying,

- Mining Engineering,

- Modern Office Practice & Management,

- Photography,

- Pharmacy,

- Printing Technology,

- Production Engineering, and,

- Survey Engineering.

The students coming out of these institutions find employment in the organised and unorganised sectors and forms backbone of the world of work. They find employment in the functional areas. However, the most important job functions include: production, quality control, installation, maintenance, servicing, marketing etc. In order to train manpower of desired quality and standards, it is essential to provide appropriate learning experiences to the students for developing requisite competencies in the respective disciplines.

The Curricular Structure and the relevant syllabi for the above mentioned disciplines were last revised in 1994. Development in the field of Science & Technology warranties revision and upgradation of the curriculum at all the three levels of Engineering & Technology Education, viz. the Degree level, the Diploma level and the ITI level. It is with this understanding that the West Bengal State Council of Technical Education took the decision in early 2002 to update the existing curricular structure and syllabi of the different full-time diploma programmes in vogue. Accordingly the Board of Studies of the Council took initiative. Upon the recommendation of the Board of Studies, the State Council in its meeting held on 2nd July 2002 adopted Curricular Structures for the Diploma Programmes in Engineering & Technology, Applied Arts & Crafts and Other Disciplines, to be implemented from the 2002-2003 academic session. These are in accordance to the “NORMS AND STANDARDS” of the All India Council of Technical Education.

MODE OF CURRICULAR PROGRAMME

A Fixed & Linear Semester Mode is introduced in lieu of the Fixed & Linear Annual Mode. The new Curricular Programme consists of three parts, each part consisting of two semesters. Each semester consists of at least 15 contact weeks excluding internal assessments, end-semester examinations, preparatory and other holidays.

Weekly Work Schedule

Instead of the present practice of 7 periods per full working day and 4 periods per Saturday @ 45 minutes per period, 8 periods per full working day and 4 periods per Saturday @ 50 minutes per period with the following schedule is introduced. The last two periods of every working day will be of 45 minutes duration.

F u l l   W o r k i n g   D a y

| 1st Period | 2nd Period | 3rd Period | 4th Period | Recess | 5th Period | 6th Period | 7th Period | 8th Period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10:30 — 11:20 | 11: 20 — 12:10 | 12:10 — 13:00 | 13:00 — 13:50 | 13:50 — 14:20 | 14:20 — 15:10 | 15:10 — 16:00 | 16:00 — 16:45 | 16:45 — 17:30 |

S a t u r d a y

| 1st Period | 2nd Period | 3rd Period | 4th Period |
| --- | --- | --- | --- |
| 10:30 — 11:20 | 11: 20 — 12:10 | 12:10 — 13:00 | 13:00 — 13:50 |

Table 1 (a) & (b): Weekly Period schedule

In the Part – I First Semester & Second Semesters, 36 & 40 periods are respectively allocated for students’ instruction and 8 & 4 periods are respectively allocated for student centred activities; and, in each of the other four semesters, out of the total 44 periods in a week, 39 periods are allocated for student contact and 5 periods for student centred activities. This leads to the present 2900 instructional contact hours per three-year full-time diploma course instead of the old 2430 instructional contact hours per three year.

| Item | Present Semester System | Past Annual System | AICTE Recommendations |
| --- | --- | --- | --- |
| Total Institutional Hours per Week | 38⅓ Hours | 31¾ Hours | 40 Hours |
| Student Contact Hours in Formal Training per Week | 30 – 32½ Hours | 27 Hours | 33 – 36 Hours |
| Student Centred Activities (Library, Guided Studies Etc.) per Week | 4 - 6⅔ Hours | 2¼ Hours | 08 – 10 Hours |

Table 2: Comparison of Weekly Work Schedule

Generally, it is recommended that the sessional classes be scheduled in the second half of a day, allocating the theoretical classes in the first half.

DURATION OF PROGRAMME & ENTRY QUALIFICATION

The minimum duration of the full-time diploma programme will be three years after 10+ or entry qualifications as approved by the AICTE from time to time.

CURRICULAR COMPONENTS OF THE DIPLOMA PROGRAMMES IN ENGINEERING & TECHNOLOGY

The Diploma Programmes in Engineering & Technology shall consist of curricular component comprising courses in General Studies, Applied Sciences, Basic Courses in Engineering & Technology, Interdisciplinary Courses in Engineering & Technology, Applied Courses in Engineering & Technology (Departmental Core), and, Specialised Courses in Engineering & Technology (Electives).

General Studies

All disciplines shall contain courses in general studies and communication. These are related to supervisory / management skills. Further, development of communication skills appropriate to functions of technicians and also complementary to the main theme or disciplines of the respective programmes is considered. In addition, courses offered include areas of social and economic concern like environmental protection, energy conservation, productivity and quality, safety and entrepreneurial development. A general course on computer literacy and computer applications is essentially included.

Applied Sciences

Courses under Applied Sciences include Mathematics, Physics and Chemistry. Topics for these courses are chosen depending on their requirement for study of the Basic, Interdisciplinary and Applied Courses in Engineering & Technology, as well as to help the students to pursue higher level of studies in chosen areas.

Basic Courses in Engineering & Technology

Courses in basic Engineering & Technology include Engineering Drawing, Workshop Practice, Engineering Mechanics and Strength of Materials. These are necessary for all the disciplines as this will help in the study of the Interdisciplinary and Applied Courses in Engineering & Technology.

Interdisciplinary Courses in Engineering & Technology

Though not included in the recommendations of the AICTE, the State Council, on the recommendation of the Board of Studies, included this component, viz. the Interdisciplinary Courses in Engineering & Technology. In the present time, no discipline of Engineering & Technology can develop of its own, but with the knowledge & skill taken from allied disciplines. Even there are disciplines, which are itself interdisciplinary in nature, like Medical Laboratory Technology where knowledge of Medical Science is amalgamated with that of Electronics. This component is introduced to expose the students to these areas of interdependence. Examples of such courses are “Elements of Electrical Engineering” (Mechanical), “Principles & Applications of Digital Electronics” (Electrical), “Design of Structure” (Architecture), “Computer Oriented Numerical Methods” (Chemical), “Instrumentation, Automatic Control & Microprocessor Application” (Production) etc.

#### Applied Courses in Engineering & Technology (Departmental Core)

These form the core studies relevant to the specific discipline and are meant to develop competencies required by the profession. One of the courses would be essentially Project work, which is intended to provide opportunity for students to develop understanding of the interrelationship between courses and to apply the knowledge gained in a way that enables them to develop and demonstrate higher order skills. Project work has been given due weightage in terms of time and credit allocation. Industry-Institution-Interaction should be an integral component of curriculum wherever possible.

Specialised Courses in Engineering & Technology (Electives)

Courses under electives are offered to provide an avenue for limited specialisation in an area of the students’ choice and should cover new and emerging areas. Examples of such courses are “CAD CAM” (Mechanical), “Process Control & Instrumentation” (Electrical), “Water Resource Engineering” (Civil), “Alternative Building Technology” (Architecture), “PC Hardware Maintenance” (Electronics & Tele-Communication Engineering) etc.

A summary of the new curricular structure for the Diploma Programmes in Engineering & Technology is illustrated below:

| COMPONENTS OF STUDY | Part – I 1ST SEM. | Part – I 2ND SEM. | Part – II 1ST SEM. | Part – II 2ND SEM. | Part – III 1ST SEM. | Part – III 2ND SEM. | TOTAL (%) | AICTE RECOMMEN-DATIONS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL STUDIES | 03 | 04 | 03 | 04 | 03 | — | 17 (07.36%) | 5 – 10 % |
| APPLIED SCIENCE | 17 | 11 | — | — | — | — | 28 (12.12%) | 10 – 15 % |
| BASIC ENGINEERING | 16 | 24 | 12 | — | — | — | 52 (22.51 %) | 20 – 30 % |
| APPLIED ENGINEERING (DEPT. CORE) | — | — | 24 | 27 | 32 | 33 | 116 (50.22%) | 40 – 55 % |
| INTERDISCIPLINARY | — | — | — | 08 | — | — | 08 (03.46%) | — |
| SPECIALISED COURSES (ELECTIVE) | — | — | — | — | 04 | 06 | 10 (04.33%) | 5 – 10 % |
| T O T A L | 36 | 39 | 39 | 39 | 39 | 39 | 231 (100.00%) | — |

Table 5: Semester wise Period Allocation of different Components of the Curricular Structure

Distribution of Marks

Taking the two semesters of each part together, the distribution of marks in the three parts for the theoretical and sessional papers will be as follows: —

| P A R T | T H E O R E T I C A L | S E S S I O N A L | T O T A L |
| --- | --- | --- | --- |
| I | 9 5 0 | 6 5 0 | 1 6 0 0 |
| II | 1 0 5 0 | 9 5 0 | 2 0 0 0 |
| III | 1 0 0 0 | 1 0 0 0 | 2 0 0 0 |
| T O T A L | 3 0 0 0 | 2 6 0 0 | 5 6 0 0 |

Total Theoretical Marks : Total Sessional Marks = 53.57 : 46.43

COMPONENTS OF THE CURRICULAR STRUCTURES FOR THE DIPLOMA COURSES IN APPLIED ARTS & CRAFTS AND OTHER DISCIPLINES

The curricular structures for the disciplines belonging to the “Applied Arts & Crafts” and “Other Disciplines” categories will have the same ‘Mode of Curricular Programme’ and similar ‘Distribution of Marks’ as those of the Engineering & Technology disciplines. But as per the AICTE Norms and Standards, the difference of the Curricular Structures will occur only in the percentage of time allocated towards the different curriculum components. These are illustrated in the detailed Curricular Structures of the respective disciplines.

THE METHODOLOGY OF REVISION & UPDATION

At the onset, the Board of Studies made the following policy decisions regarding formation of the syllabus sub-committees for preparation of the detailed curricular structure & syllabi of each discipline: —

- the convenors of each syllabus sub-committee are normally to be appointed from within the polytechnic system with certain exception;

- on receiving recommendations from each convenor, the other members of the syllabus sub-committees are to be appointed and it has to be guaranteed that each syllabus sub-committee consisted of academicians from the universities / degree institutions, representatives from the concerned industries and the statutory councils (if any);

- the syllabus sub-committees should first prepare the curricular structures and then they should prepare the detailed syllabi of the different courses;

- along with the curriculum, the syllabus sub-committees should also mention the equipments and the technical personnel required for properly running the different Sessional classes (Drawing, Workshop, Laboratory, Project & Elective).

Upon scrutiny of the curriculum submitted by the different syllabus sub-committees and making modifications wherever necessary, the Board of Studies recommended the same to the West Bengal State Council of Technical Education for its consideration and formal adoption.

SYLLABUS SUB-COMMITTEES & RESOURCE PERSONS FOR SUBJECTS OFFERED AT PARTS – II & III

- Syllabus sub-Committee for the Discipline of Civil Engineering:

  - Member-Convenor: Shri Asok Kumar Deb, Lecturer in Civil Engg., North Calcutta Polytechnic;

  - Member: Shri Amiyo Gopal Mondal, Addl. Chief Engineer (HQ), P.W.D.;

  - Member: Shri Amitavo Gangopadhaya, Professor, Dept. of Civil Engg., J.U.;

  - Member: Shri Kalyan Chatterjee, Asst. Professor, Dept. of Civil Engg., B.E.S.U.;

  - Member: Shri Kanchanlal Dey, Lecturer in Civil Engg., North Calcutta Polytechnic;

  - Member: Shri Subhash Chakraborty, Retd. Lecturer in Civil Engg., J.C. Ghosh Polytechnic, Kolkata.

- Syllabus Sub-Committee for “Communication Skills (Job)”:

  - Member Convenor: Shri Sankar Nath Ghosh, formerly, Head of the Dept. & Lecturer in Humanities, Hooghly Institute of Technology;

  - Member: Shri Amaresh Kumar Mukherjee, formerly, Head of the Dept. & Lecturer in Humanities, Regional Institute of Printing Technology;

  - Member: Shri Prabir Kumar Ghosh, Lecturer in Humanities, Central Calcutta Polytechnic;

  - Member: Sm. Purna Biswas, Lecturer in Humanities, Women's Polytechnic, Jodhpur Park;

  - Member: Shri Santanu Mitra, Lecturer in Humanities, J.C. Ghosh Polytechnic;

  - Member: Shri Hemadri Chatterjee, Lecturer in Humanities, R. K. Mission Silpapith, Belghoria;

  - Member: Sm. Sukla Mitra, formerly, English Studies Officer, British Council Division, Kolkata; and,

  - Member: Shri Santanu Goswami, Manager Personnel & Industrial Relation Faculty, Exide Industries.

- Syllabus Sub-Committee for “Basic Electronics”:

  - Member: Shri Sujit Chatterjee, Dy. General Manager, Transmission Maintenance, BSNL;

  - Member: Shri Jayanta Mukhopadhyay, Sr. Executive Engineer, Power Electronics Division, APLAB Limited;

  - Member: Dr. Bhaskar Gupta, Reader, Dept. of Electronics & Tele-Communication Engg., J.U.;

  - Member-Convenor: Shri Sandip Kundu, COE, WBSCTE;

  - Member: Shri Pijush Kanti Chakrabarty, Lecturer in Electronics & Tele-Communication Engg., Women’s Polytechnic, Jodhpur Park;

  - Member: Dr. (Sm.) Bijita Biswas, Lecturer in Electronics & Tele-Communication Engg., Women’s Polytechnic, Jodhpur Park;

  - Member: Shri Nabendu Sengupta, Dy. Secretary, WBSCVET, Kolkata;

  - Member: Dr. (Sm.) Merina Dan, Lecturer in Electronics & Tele-Communication Engg., EIJE, Dalalpukur, Howrah;

  - Member: Sm. Manidipa Roy, Principal, Women's Polytechnic, Chandarnagore Polytechnic.

- Syllabus Sub-Committee for “Industrial Management”:

  - Member-Convenor: Shri Soumendra Sen, Dy. Registrar, Visva Bharati;

  - Member: Dr. P.K. Dan, Asst. Professor, IISWBM, Kolkata;

  - Member: Shri Aparesh C. Bhattacharyya, formerly, Sr. Manager (Pers. & Admn.), Jessop & Co. Ltd.;

  - Member: Shri Sumon Kumar Roy, Lecturer in Mechanical Engg., A.P.C. Roy Polytechnic, Kolkata;

  - Member: Shri A.C. Majumdar, IISWBM, Kolkata.

4. (a) Resource Person for “Industrial Management”: Dr. Nikhil Ranjan Banerjea, Vice-Chancellor, BESU.

- Resource Persons for “Environmental Engineering”:

  - Dr. Nikhil Ranjan Banerjea, Vice-Chancellor, BESU, and,

  - Shri Rabindra Chandra Bhattacharya, Vice-Chairman, WBSCTE.

- Resource Persons for “Computer Aided Design & Drafting”:

  - Sm. Meenakshi Sinha, Creative Director, aisen designs pvt. ltd., Kolkata;

  - Shri Abhijit Ghosh, Consultant Architect & Town Planner; and,

THE BOARD OF STUDIES

The members of the Board of Studies, under whose supervision and guidance the work of syllabus revision took place, are as follows: —

| Chairman: | Dr. Nikhil Ranjan Banerjea, Vice Chancellor, BESU |
| --- | --- |
| Member-Secretary: | Shri G. Bandyopadhyay, Secretary, and Member, WBSCTE |
| Member: | Shri Saibal Mukhopadhyay, Dy. Director, Directorate of Technical Education & Training, Govt. of West Bengal |
| Member: | Dr. Ranjan Dasgupta, Professor National Institute of Technical Teachers’ Training & Research (Eastern Region) |
| Member: | Dr. P.K. Das Podder, Dean, Faculty Council for Post-Graduate Studies in Engg. & Tech., University of Calcutta and Member, WBSCTE |
| Member: | Dr. Siddharta Kumar Dutta, Pro-Vice-Chancellor, J.U. and Member, WBSCTE |
| Member: | Dr. J.N. Maiti, General Manager (Project), WEBEL |
| Member: | Shri Ujjwal Ghatak, Confederation of Indian Industries (Eastern Region) |
| Member: | Prof. (Dr.) R.N. Banerjee, Institution of Engineers (India), West Bengal Chapter |
| Member: | Dr. Nil Ratan Bandopadhyay, Endowment Scientist, Dr. M. N. Dastur School of Material Science, B.E. College (D.U.) |
| Member: | Shri Mrinal Kanti Basak, Indian Society for Technical Education (West Bengal Chapter) |
| Member: | Shri Diptendu Chowdhury, Principal, Regional Institute of Printing Tech., Kolkata |
| Member: | Sm. Lahari ghosh, Principal, Engg. Insti. for Jr. Executive, Howrah |
| Member: | Shri A K Deb, Lecturer, North Calcutta Polytechnic. |

THE WEST BENGAL STATE COUNCIL OF TECHNICAL EDUCATION

The members of the West Bengal State Council of Technical Education are as follows: —

| Chairman: | Shri Chakradhar Maikap, MIC, Dept. of Technical Education & Training, Govt. of West Bengal |
| --- | --- |
| Vice-Chairman: | Shri Rabindra Chandra Bhattacharya |
| Member Secretary: | Shri G. Bandyopadhyay |
| Member: | Shri S. C. Tewari, IAS, Secretary, Dept. of Technical Education & Training, Govt. of West Bengal |
| Member: | Shri S. Dey, IAS, Dy. Secretary, Dept. of Finance, Govt. of West Bengal |
| Member: | Dr. N. R. Banerjea, Vice-Chancellor, Bengal Engineering & Science University. |
| Member: | Dr. S. Roy, Director, National Institute of Technical Teachers’ Training & Research (Eastern Region) |
| Member: | Dr. P De, Director, Directorate of Technical Education & Training, Govt. of West Bengal |
| Member: | Prof. P.K. Das Podder, Dept. of Chem & Tech., University of Calcutta |
| Member: | Dr. Siddharta Dutta, Pro-Vice-Chancellor, J.U. |
| Member: | Dr. Madhusudan Bhattacharyya, formerly, Professor & Head, Dept. of Mechanical Engg., J.U. |
| Member: | Dr. Samiran Chowdhury, Institution of Engineers (India) |
| Member: | Dr. Sujan Chakraborty, Member, Pharmacy Council of India |
| Member: | Shri Gautam roy, Dy. General Manager, CESC |
| Member: | Shri Pijush Kanti Charaborty, Lecturer in Electronics & Tele-Communication Engg., Women’s Polytechnic, Jodhpur Park |
| Member: | Shri Prabir Kumar Ghosh, Lecturer in Humanities, Central Calcutta Polytechnic |
| Member: | Shri Sankar Prasad Dey, Jr. Lecturer, Calcutta Techical School |
| Member: | Smt. Kanika Ganguly, Member of the Legislative Assembly, West Bengal |

Sd/-

G. BANDYOPADHYAY

SECRETARY

30th April , 2007 							   W. B. State Council of Technical Education

P R E F A C E

To introduce new curricular for implementing a fixed and linear semester mode in lieu of the existing fixed and linear annual mode from the session 2002-2003 in the Diploma in Engineering courses at the State Polytechnics, the Secretary, West Bengal State Council of Technical Education appointed syllabus sub-committee of the respective discipline to frame the details of the curricular structure and the course content of the related subjects. Considering the guidelines and instructions provided by the Secretary, West Bengal State Council of Technical Education, the syllabus sub-committee of Civil Engineering discipline started their works since September, 2002. To frame the curricular structure and the details of the course contents of the core subjects the committee organised numbers of formal & informal meeting of the members of the committee to form basic frame works of the curricular structure and the topics to be considered in the course contents of the related core subjects.

Consideration & Recommendation of the Syllabus Sub-Committee in Framing New Curricular Structure and Details of the Course Content of the Related Subjects

Details syllabi of the subjects have been framed considering 15 week classes in each semester.

Civil Engineering Drawing I, II & III in 3rd, 5th & 6th Semester respectively are being considered as sessional subject although sub-committee recommended 50 marks examination paper along with other theoretical subjects. Remaining 50 marks will be evaluated by the internal assessment through sessional sheets and viva-voce.

Considering importance of subject ‘Estimating’ in the field, Quantity Survey has been broken in two parts and offered as core subject in 3rd Semester and sessional paper in the same semester.

In case of field Survey Practical I & II in 4th & 5th Semester the institute can set-up field work in normal class routine or 2 weeks intensive field survey practical within campus or in nearby vicinity.

Sessional on Elective in 6th Semester is to be selected by the institution authority based on the elective subject offered to the students. It may be laboratory oriented or theoretical sessional paper.

Since the Civil Engineering Project Work is split into two parts, one for 5th Semester and other for the 6th Semester, so the committee feels that the assessments of the project work shall also be made in two semesters separately and final evaluation shall be made in the 6th Semester by organising viva on the project work.

On the basis of the discussion in the different meetings initially a draft syllabus was prepared and circulated among all the members of the sub-committee and also to some of the polytechnics seeking their views and comments both regarding the curricular structure and course contents of the related subjects. On getting the comments from the concerned bodies, the syllabus sub-committee finally met to review all the comments and make necessary incorporation to the draft syllabus for recommending the proposed syllabus to the Board of Studies.

I express my deep sense of gratitude and sincere thanks to all sub-committee members, who provided their guidance instruction and suggestion in preparing these huge tasks of works. I am also thankful to Shri Sudip Samanta and Shri Raju Singh of West Bengal State Council of Technical Education for taking strain in typing these huge volumes of work in addition to their normal duties.

Sd/-

Asok Kumar Deb

Member-Convenor

Syllabus Sub-Committee for

30th April, 2007 								  The Discipline of Civil Engineering

C O N T E N T S

| DETAILED CURRICULAR STRUCTURES OF THE THREE-YEAR FULL-TIME DIPLOMA COURSE IN CIVIL ENGINEERING |
| --- |
|  | curricular structure for part – i of the full-time diploma course in civil engineering … … … … … … | 2 |
|  | curricular structure for part – ii of the full-time diploma course in civil engineering … … … … … … | 3 |
|  | curricular structure for part – iii of the full-time diploma course in civil engineering … … … … … ... | 4 |
| DETAILED SYLLABI OF DIFFERENT SUBJECTS OFFERED AT THE PART – II FIRST & SECOND SEMESTERS |
|  | environmental engineering … … … … … … … … … … … … … … … … … … … … … … … … … … … … ... | 7 |
|  | basic electronics … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … .. | 9 |
|  | building materials & construction … … … … … … … … … … … … … … … … … … … … … … … … … … | 11 |
|  | hydraulics & hydraulc structure … … … … … … … … … … … … … … … … … … … … … … … … … | 14 |
|  | field surveying – i … … … … … … … … … … … … … … … … … … … … … … … … … | 17 |
|  | quantity surveying … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 19 |
|  | civil engineering drawing – i (sessional Group-A ).… … … … … … … … … … … … … … … … … … … … | 23 |
|  | computer aided design & drafting … … … … … … … … … … … … … … … … … … … … … … … … … … | 20 |
|  | quantity surveying (sessional) … … … … … … … … … … … … … … … … … … … … … … … … … … … | 22 |
|  | civil engineering drawing (s) – i … … … … … … … … … … … … … … … … … … … … … … … … … … … | 22 |
|  | communication skills (job) … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 24 |
|  | irrigationj engineering … … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 25 |
|  | strength of materials & theory of structures … … … … … … … … … … … … … … … … … … … … … | 27 |
|  | field surveying – ii … … … … … … … … … … … … … … … … … … … … … … | 29 |
|  | water & waste water engineering – i … … … … … … … … … … … … … … … … … … … … … … … … … | 31 |
|  | costing, contract & valuation … … … … … … … … … … … … … … … … … … … … … … … … … | 32 |
|  | communication skills (job) lab … … … … … … … … … … … … … … … … … … … … … … … … … … … | 33 |
|  | field surveying practice – i … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 34 |
|  | concrete & road materials testing laboratory … … … … … … … … … … … … … … … … … … … … … | 35 |
|  | civil engineering laboratory – i … … … … … … … … … … … … … … … … … … … … … … … … … | 36 |
|  | civil engineering drawing-i (group-A & B)…………………………………………………………………………… | 37 |
| DETAILED SYLLABI OF DIFFERENT SUBJECTS OFFERED AT THE PART – III FIRST & SECOND SEMESTERS |
|  | industrial management … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 41 |
|  | soil mechanics … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 42 |
|  | structural design & detailing – i … … … … … … … … … … … … … … … … … … … … … … … … … … | 43 |
|  | transportation engineering – i … … … … … … … … … … … … … … … … … … … … … … | 45 |
|  | water & waste water engineering – ii … … … … … … … … … … … … … … … … … … … … | 47 |
|  | field surveying practice – ii … … … … … … … … … … … … … … … … … … … … … … … … … … | 48 |
|  | foundation engineering … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 49 |
|  | structural design & detailing – ii … … … … … … … … … … … … … … … … … … … | 51 |
|  | transportation engineering – ii … … … … … … … … … … … … … … … … … … … … … … … … … … … | 52 |
|  | civil engineering drawing – ii … … … … … … … … … … … … … … … … … … … … … … … … | 54 |
|  | civil engineering drawing (s) – ii … … … … … … … … … … … … … … … … … … … … … … … … | 54 |
|  | civil engineering laboratory – ii … … … … … … … … … … … … … … … … … … … … … … … … … … … | 55 |
|  | advanced transportation engineering (elective) … … … … … … … … … … … … … … … … … … … … | 56 |
|  | add. trans. engineering lab……………………………………………………………………………………………. | 58 |
|  | concrete technology (elective) … … … … … … … … … … … … … … … … … … … … … … … … … … … | 58 |
|  | concrete technology lab……………………………………………………………………………………………… | 60 |
|  | civil engineering project work … … … … … … … … … … … … … … … … … … … … … … … … … … … | 61 |
|  | seminar on civil engineering project work … … … … … … … … … … … … … … … … … … … … … … … | 61 |
|  | general viva-voce … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … … | 63 |

###### D E T A I L E D   C U R R I C U L A R   S T R U C T U R E S   O F

###### T H E   T H R E E - Y E A R   F U L L - T I M E

###### D I P L O M A   C O U R S E   I N   C I V I L   E N G I N E E R I N G

CURRICULAR STRUCTURE FOR PART – I FIRST SEMESTER OF THE

## FULL-TIME DIPLOMA COURSES IN ENGINEERING & TECHNOLOGY

| Sl. No. | Subject Code | Subject of Study | Contact periods / week | Examination Scheme | Full Marks | Page No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External |  |  |
|  |  | Theoretical Papers | Lecture | Tutorial | Sessional | Assessment | Attendance | Objective | Subjective | Th. | Ses. |  |
|  | * / 1 / T1 / CSS | Communication Skills (Studies) | 2 | 1 | — | 10 | 2 | — | 38 | 50 | — |  |
|  | * / 1 / T2 / PHY1 | Physics – I | 3 | — | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | * / 1 / T3 / CHM1 | Chemistry – I | 2 | 1 | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | * / 1 / T4 / MTHS | Mathematics | 5 | — | — | 20 | 5 | 25 | 50 | 100 | — |  |
|  | * / 1 / T5 / EMK | Engineering Mechanics | 3 | 1 | — | 20 | 5 | 25 | 50 | 100 | — |  |
|  | * / 1 / T6 / ED | Engineering Drawing (Group-A) | — | — | — | — | — | — | — | — | — |  |
|  | Sessional Papers | Lecture | Tutorial | Sessional | Internal | External | Th. | Ses. | — |
|  | * / 1 & 2 / S1 / LPHY | Physics Lab (Group – A) | — | — | 3 | 12.5 | — | — | — |  |
|  | * / 1 & 2 / S2 / LCHM | Chemistry Lab (Group – A) | — | — | 3 | 12.5 | — | — | — |  |
|  | * / 1 & 2 / S3 / SED | Engineering Drawing (S) | — | — | 6 | 50 | — | — | — |  |
|  | * / 1 & 2 / S4 / WSPR | Workshop Practice | — | — | 6 | 50 | — | — | — |  |
| * Code for discipline | T O T A L | 15 | 3 | 18 | —— | — | 350 | — | — |

CURRICULAR STRUCTURE FOR PART – I SECOND SEMESTER OF THE

## FULL-TIME DIPLOMA COURSES IN ENGINEERING & TECHNOLOGY

| Sl. No. | Subject Code | Subject of Study | Contact periods / week | Examination Scheme | Full Marks | Page No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External |  |  |
|  |  | Theoretical Papers | Lecture | Tutorial | Sessional | Assessment | Attendance | Objective | Subjective | Th. | Ses. |  |
|  | * / 2 / T1 / BEA | Business Economics & Accountancy | 4 | — | — | 20 | 5 | 25 | 50 | 100 | — |  |
|  | * / 2 / T2 / PHY2 | Physics – II | 2 | — | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | * / 2 / T3 / CHM2 | Chemistry – II | 2 | — | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | * / 2 / T4 / CAP | Computer Applications & Programming | 3 | — | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | * / 2 / T5 / EMTH | Engineering Mathematics | 3 | — | — | 20 | 5 | 25 | 50 | 100 | — |  |
|  | * / 2 / T6 / SOM | Strength of Materials | 3 | — | — | 20 | 5 | 25 | 50 | 100 | — |  |
|  | * / 2 / T7 / ETK | Electrical Technology | 2 | — | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | * / 2 / T8 / ED | Engineering Drawing (4 hr. Exam.) | — | — | — | 20 | 5 | 25 | 50 | 100 | — |  |
|  | Sessional Papers | Lecture | Tutorial | Sessional | Internal | External | Th. | Ses. | — |
|  | * / 1 & 2 / S1 / LPHY | Physics Lab (Group – B) | — | — | 2 | 12.5 | 25 | — | 50 |  |
|  | * / 1 & 2 / S2 / LCHM | Chemistry Lab (Group – B) | — | — | 2 | 12.5 | 25 | — | 50 |  |
|  | * / 1 & 2 / S3 / SED | Engineering Drawing (S) (group – B) | — | — | 6 | 50 | 100 | — | 200 |  |
|  | * / 1 & 2 / S4 / WSPR | Workshop Practice | — | — | 6 | 50 | 100 | — | 200 |  |
|  | * / 2 / S5 / LCAP | Computer Applications & Programming Lab | — | — | 3 | 50 | 50 | — | 100 |  |
|  | * / 2 / S6 / LETK | Electrical Technology Lab | — | — | 2 | 25 | 25 | — | 50 |  |
| * Code for discipline | T O T A L | 19 | — | 21 | — | — | 600 | 650 | — |

##### CURRICULAR STRUCTURE FOR PART – II FIRST SEMESTER OF

##### FULL-TIME DIPLOMA COURSE IN CIVIL ENGINEERING

| Sl. No. | Subject Code | Subject of Study | Contact periods / week | Examination Scheme | Full Marks | Page No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External |  |  |
|  |  | Theoretical Papers | Lecture | Sessional | Assessment | Attendance | Objective | Subjective | Th. | Ses. |  |
|  | CE / 3 / T1 / ENVE | Environmental Engineering | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 7 |
|  | CE / 3 / T2 / BET | Basic Electronics | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 9 |
|  | CE / 3 / T3 / BMC | Building Materials & Construction | 5 | — | 20 | 5 | 25 | 50 | 100 | — | 11 |
|  | CE / 3 / T4 / HHS | Hydraulics & Hydraulic Structure | 5 | — | 20 | 5 | 25 | 50 | 100 | — | 14 |
|  | CE / 3 / T5 / FS1 | Field Surveying – I | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 17 |
|  | CE / 3 / T6 / QS | Quantity Surveying | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 19 |
|  | Sessional Papers | Lecture | Sessional | Internal | External | Th. | Ses. | — |
|  | CE/ 3 / S1 / CADD | Computer Aided Design & Drafting | — | 4 | 50 | 50 | — | 100 | 20 |
|  | CE/ 3 / S2 / SQS | Quantity Surveying (Sessional) | — | 3 | 50 | 50 | — | 100 | 22 |
|  | CE/ 3 / S3 / SCD1 | Civil Engineering Drawing (S) – I (Group-A) | — | 4 | 25 | — | — | — | 23 |
|  | CE/ 3 & 4 / S4 / CEL1 | Civil Engineering Lab – I (Group – A) | — | 4 | 50 | — | — | — | 36 |
|  |  | T O T A L | 24 | 15 | — | — | 600 | 200 | — |

CURRICULAR STRUCTURE FOR PART – II SECOND SEMESTER OF

##### FULL-TIME DIPLOMA COURSE IN CIVIL ENGINEERING

| Sl. No. | Subject Code | Subject of Study | Contact periods / week | Examination Scheme | Full Marks | Page No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External |  |  |
|  |  | Theoretical Papers | Lecture | Sessional | Assessment | Attendance | Objective | Subjective | Th. | Ses. |  |
|  | CE / 4 / T1 / CSJ | Communication Skills (Job) | 2 | — | 10 | 2 | — | 38 | 50 | — | 24 |
|  | CE / 4 / T2 / IRE | Irrigation Engineering | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 25 |
|  | CE / 4 / T3 / SMTS | Strength of Materials & Theory of Structures | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 27 |
|  | CE / 4 / T4 / FS2 | Field Surveying – II | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 29 |
|  | CE / 4 / T5 / WWE1 | Water & Waste Water Engineering – I | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 31 |
|  | CE / 4 / T6 / CCV | Costing, Contract & Valuation | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 32 |
|  | CE/4/T7/CD | C.E.Drawing-I (Group-A & B) | --- | --- | 20 | 5 | 25 | 50 | 100 | --- | 37 |
|  | Sessional Papers | Lecture | Sessional | Internal | External | Th. | Ses. | -- |
|  | CE / 4 / S1 / LCSJ | Communication Skills (Job) Lab | — | 2 | 25 | 25 | — | 50 | 33 |
|  | CE / 4 / S2 / SFS1 | Field Surveying Practice – I | — | 4 | 50 | 50 | — | 100 | 34 |
|  | CE / 4 / S3 / CRTL | Concrete & Road Materials Testing Lab | — | 4 | 50 | 50 | — | 100 | 35 |
|  | CE / 3 & 4 / S4 / CEL1 | Civil Engineering Lab – I (Group – B) | — | 4 | 25 | 75 | — | 150 | 36 |
|  | CE/4/S4/CD 2 | C.E.Drawing – II (Group-B) | --- | 4 | 50 | 75 | --- | 150 | 37 |
|  |  | T O T A L | 21 | 18 | — | — | 650 | 550 | — |

- Each of Part II – 1st & 2nd semester is of 17 weeks duration of which 15 weeks are scheduled as contact weeks and 2 weeks are scheduled for holding two Centralised Internal Assessments.

- Each of Part II – 1st & 2nd semester consists of 39 contact periods per week and 5 periods per week are allocated for Student Centred Activities like Library, Guided Studies etc.

- Marks distribution in Part – I I : Theoretical – 1250, Sessional – 750; Total – 2000.

##### CURRICULAR STRUCTURE FOR PART – III FIRST SEMESTER OF

##### FULL-TIME DIPLOMA COURSE IN CIVIL ENGINEERING

| Sl. No. | Subject Code | Subject of Study | Contact periods / week | Examination Scheme | Full Marks | Page No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External |  |  |
|  |  | Theoretical Papers | Lecture | Sessional | Assessment | Attendance | Objective | Subjective | Th. | Ses. |  |
|  | CE / 5 / T1 / IMNT | Industrial Management | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 41 |
|  | CE / 5 / T2 / SMCH | Soil Mechanics | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 42 |
|  | CE / 5 / T3 / SDD1 | Structural Design & Detailing – I | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 43 |
|  | CE / 5 / T4 / TRE1 | Transportation Engineering – I | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 45 |
|  | CE / 5 / T5 / WWE2 | Water & Waste Water Engineering – II | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 47 |
|  | CE / 5 / *T6 / ATE1 | Advanced Transport Engineering – I | 3 | — | 20 | 5 | 25 | 50 | 100 | — | 56 |
|  | CE / 5 / *T7 / CT1 | Concrete Technology – I |  |  |  |  |  |  |  |  | 58 |
|  | Sessional Papers | Lecture | Sessional | Internal | External | Th. | Ses. | — |
|  | CE/ 5 & 6 / S1 / SCD2 | Civil Engineering Drawing (S) – II (Group – A) | — | 6 | 50 | — | — | — | 54 |
|  | CE/ 5 & 6 / S2 / CEL2 | Civil Engineering Laboratory – II (Group – A) | — | 4 | 50 | — | — | — | 55 |
|  | CE/ 5 & 6 / S3 / CEPW | Civil Engineering Project Work (Group – A) | — | 6 | 50 | — | — | — | 61 |
|  | CE / S5 / LATE | Adv. Trpt. Lab | — | 4 | 50 | 50 | — | 100 | 56 |
|  | CE/S5/LLT | Conc. Tech. Lab |  |  |  |  |  |  |  |
|  |  | T O T A L | 19 | 20 | — | — | 600 | 100 | — |

CURRICULAR STRUCTURE FOR PART – III SECOND SEMESTER OF

##### FULL-TIME DIPLOMA COURSE IN CIVIL ENGINEERING

| Sl. No. | Subject Code | Subject of Study | Contact periods / week | Examination Scheme | Full Marks | Page No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External |  |  |
|  |  | Theoretical Papers | Lecture | Sessional | Assessment | Attendance | Objective | Subjective | Th. | Ses. |  |
|  | CE / 6 / T1 / FDNE | Foundation Engineering | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 49 |
|  | CE / 6 / T2 / SDD2 | Structural Design & Detailing – II | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 51 |
|  | CE / 6 / T3 / TRE2 | Transportation Engineering – II | 4 | — | 20 | 5 | 25 | 50 | 100 | — | 52 |
|  | CE / 6 / *T4 / ATE2 | Advanced Transport Engineering – II | 2 | — | 10 | 2 | 13 | 25 | 50 | — |  |
|  | CE / 6 / *T5 / CT2 | Concrete Technology – II |  |  |  |  |  |  |  |  | 57 |
|  | CE / 6 / T6 / CD2 | Civil Engineering Drawing – II (4 hr. Exam.) | — | — | 20 | 5 | 25 | 50 | 100 | — | 54 |
|  | Sessional Papers | Lecture | Sessional | Internal | External | Th. | Ses. | — |
|  | CE/ 5 & 6 / S1 / SCD2 | Civil Engineering Drawing (S) – II (Group – B) | — | 6 | 50 | 100 | — | 200 | 54 |
|  | CE/ 5 & 6 / S2 / CEL2 | Civil Engineering Laboratory – II (Group – B) | — | 6 | 50 | 100 | — | 200 | 55 |
|  | CE/ 5 & 6 / S3 / CEPW | Civil Engineering Project Work (Group – B) | — | 6 | 50 | 100 | — | 200 | 61 |
|  | CE / 6 / S4 / SMNR | Seminar on Civil Engineering Project | — | 1 | 25 | 25 | — | 50 | 61 |
|  | CE / 6 / S5 / SFS 2 | Field Survey Practice –II | --- | 6 | 50 | 50 | --- | 100 | 48 |
|  | CE / 6 / S7 / GVV | General Viva Voce | — | — | — | — | — | 100 | 63 |
|  |  | T O T A L | 14 | 25 | — | — | 450 | 850 | — |

- * Each student is required to opt for any one of the following two elective papers offered:

(a) Advanced Transportation Engineering (ATE1, ATE2 & LATE); (b) Concrete Technology (CT1, CT2 & LCT)

- Each of Part III – 1st & 2nd semester is of 17 weeks duration of which 15 weeks are scheduled as contact weeks and 2 weeks are scheduled for holding two Centralised Internal Assessments.

- Each of Part III – 1st & 2nd semester consists of 39 contact periods per week and 5 periods per week are allocated for Student Centred Activities like Library, Guided Studies etc.

- Marks distribution in Part – III : Theoretical – 1050, Sessional – 950; Total – 2000.

D E T A I L E D   S Y L L A B I   O F   T H E

D I F F E R E N T   C O U R S E S   O F F E R E D   I N

P A R T  –  I I   F I R S T   &   S E C O N D   S E M E S T E R S

E N V I R O N M E N T A L   E N G I N E E R I N G

| Subject Code CE / 3 / T1 / ENVE | Course offered in Part – II First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

O B J E C T I V E

Since the Rio-declaration, eco-friendly and sustainable development has become order of the day. Any individual involved with developmental work is expected to be aware of the environment and its related facets. The present course on “Environmental Engineering” is aimed at giving the students a comprehensive idea regarding the different interfaces of environmental pollution, which are — air, water, soil and noise pollution. On successful completion of the course they will also be aware of the different aspects of environmental management, viz. environmental legislations, authorities and systems.

M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A |  | INTRODUCTION | 2 |
|  |  | AIR POLLUTION | 3 |
|  |  | ANALYSIS OF AIR POLLUTANTS | 3 |
|  |  | AIR POLLUTION CONTROL MEASURES & EQUIPMENT | 6 |
|  |  | METHODS & APPROACH OF AIR POLLUTION CONTROL | 6 |
| B |  | WATER SOURCES | 2 |
|  |  | DIFFERENT SOURCES OF WATER POLLUTION | 4 |
|  |  | EFFECT OF WATER POLLUTION & ITS CONTROL | 4 |
| C |  | SOIL POLLUTING AGENCIES & EFFECT OF SOIL POLLUTION | 3 |
|  |  | SOLID WASTE DISPOSAL | 4 |
| D |  | NOISE POLLUTION & CONTROL | 2 |
|  |  | ENVIRONMENTAL LEGISLATIONS, AUTHORITIES & SYSTEMS | 6 |
| CONTACT PERIODS: 45 | INTERNAL ASSESSMENT: 6 | TOTAL PERIODS: 51 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4, 5 | 15 | ANY 25 | ONE | 1 x 25 = 25 | FOUR | ANY FIVE, TAKING AT LEAST ONE FROM EACH OF THE GROUPS A & B, AND, AT LEAST ONE FROM THE GROUPS C & D TAKEN TOGETHER | TEN | 10 X 5 = 50 |
| B | 6, 7, 8 | 7 |  |  |  | TWO |  |  |  |
| C | 9, 10 | 5 |  |  |  | ONE |  |  |  |
| D | 11, 12 | 6 |  |  |  | ONE |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  –  A      A i r   &   E n v i r o n m e n t   					           20 periods

# Introduction 								    		   2

Man & Environment:  Overview (socio-economic structure & occupational exposures) – Scope of Environmental Engineering – pollution problem due to urbanisation & industrialisation

# Air Pollution 									   	   3

Causes of air pollution – types & sources of air pollutants – Climatic & Meteorological effect on air pollution concentration – formation of smog & fumigation – Greem house effect & Global Warming : Concepts of El Nino.

# Analysis of Air Pollutants 							    	   3

Collection of Gaseous Air Pollutants – Collection of Particulate Pollutants – Analysis of Air Pollutants like: Sulphur dioxide – Nitrogen oxide – Carbon monoxide – Oxidants & Ozone – Hydrocarbons – Particulate Matter

# Air Pollution Control Measures & Equipment 					    	   6

Control of Particulate Emission – Control of Gaseous Emission – Flue Gas Treatment Methods: Stacks Gravitational and Inertial Separation, Settling Chambers, Dynamic Separators, Cyclones, Filtration, Liquid Scrubbing, Spray Chambers, Packed Towers, Orifice and Venturi Scrubbers, Electrostatic Precipitators, Gas/solid Adsorption, Thermal Decomposition

# Methods & Approach of Air Pollution Control					      	   6

Controlling smoke nuisance — Develop air quality criteria and practical emission standards — creating zones suitable for industry based on micrometeorology of air area — Introducing artificial methods of removal of particulate and matters of waste before discharging to open atmosphere

## G R O U P  –  B      W a t e r   &   E n v i r o n m e n t   				           10 periods

# Water Sources  									    	   2

Origin of wastewater — Type of water pollutants and their effects

# Different Sources of Water Pollution  						    	   6

Biological Pollution (point & non-point sources) – Chemical Pollutants: Toxic Organic & Inorganic Chemicals – Oxygen demanding substances – Physical Pollutants: Thermal Waste – Radioactive waste – Physiological Pollutants: Taste affecting substances – other forming substances

# Water Pollution & its Control								   2

Adverse effects on: Human Health & Environment, Aquatic life, Animal life, Plant life — Water Pollution Measurement Techniques – Water Pollution Control Equipments & Instruments – Indian Standards for Water Pollution Control

### G R O U P  –  C      S o i l   &   E n v i r o n m e n t   					7 periods

# Soil Polluting Agencies & Effect of Solution  						   3

Liquid & Solid Wastes – Domestic & Industrial Wastes – Pesticides – Toxic: Inorganic & Organic Pollutants – Soil Deterioration – Poor Fertility, Septicity, Ground Water Pollution, Concentration of Infecting Agents in Soil

# Solid Waste Disposal 									   4

Dumping domestic & Industrial Solid Wastes: Advantages & Disadvantages – Incineration: Advantages & Disadvantages – Sanitary Land Field: Advantages & Disadvantages – Management of Careful & Sanitary Disposal of Solid Wastes

G R O U P  –  D      Noise & Environmental Management System   		          	8 periods

# Noise Pollution & Control								   2

Noise Pollution: Intensity, Duration – Types of Industrial Noise – Ill effects of Noise – Noise Measuring & Control – Permissible Noise Limits

# Environmental Legislations, Authorities & Systems 					   6

Air & Water Pollution Control Acts & Rules (Salient Features only) – Functions of State / Central Pollution Control Boards – Environmental Management System: ISO 14 000 (Salient Features only)

R E F E R E N C E   B O O K S

- Concept of Ecology / Kormondy / Prentice Hall of India, New Delhi

- Fundamental of Ecology / Odum

- Environmental Science / J. Turk & A. Turk

- Human Rights – A Source Book Eds. / R. Dev & S. Das / NCERT

- Environmental Pollution / Dix

- Pollution Control Acts, Rules and Notification / Central Pollution Control Board, New Delhi

_______

B A S I C   E L E C T R O N I C S

| Subject Code CE / 3 / T2 / BET | Course offered in Part – II First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

O B J E C T I V E

This subject is introduced to make the students familiar with basic electrical and electronic components and also with some basic measuring instruments. Upon successful completion of this course the students will be able to:—

- list out the classes of resistors, capacitors and inductors;

- be familiar with transformer, relays, switches and connectors,

- understand the basic functions of zener diode, transistors, thyristor and simple opto-electronics devices.

M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A |  | PASSIVE & ACTIVE CIRCUIT ELEMENTS | 10 |
|  |  | TRANSFORMER | 3 |
|  |  | RELAYS, SWITCHES, CABLES AND CONNECTORS | 7 |
| B |  | ZENER DIODE | 3 |
|  |  | BIPOLAR TRANSISTOR | 7 |
|  |  | FIELD EFFECT TRANSISTOR | 5 |
| C |  | UNIJUNCTION TRANSISTOR | 2 |
|  |  | THYRISTOR | 3 |
|  |  | OPTOELECTRONICS | 3 |
|  |  | INTEGRATED CIRCUITS | 2 |
| CONTACT PERIODS: 45 | INTERNAL ASSESSMENT: 6 | TOTAL PERIODS: 51 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A |  | 13 | ANY 25 | 1 | 1 x 25 = 25 | THREE | ANY FIVE, TAKING AT LEAST ONE FROM EACH GROUP | 10 | 10 X 5 = 50 |
| B |  | 13 |  |  |  | THREE |  |  |  |
| C |  | 7 |  |  |  | THREE |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

### G R O U P  –  A 									        20 PERIODS

- Passive & Active Circuit Elements 						  	  10

Familiarity with the following components: —

  - Resistors: Fixed and variable – Carbon & wire wound – Metal film & metal oxide – Thermistors – LDR and VDR (colour coding, power rating, accuracy and effect on temperatures, uses of resistors)

  - Fuses: Ordinary fuses (specifications)

  - Capacitors: Mica – Ceramic – Paper – Electrolytic – Tantalum – Silvered mica & power factor improving capacitors – Variable capacitors – Colour coding – Rating and uses of capacitors

  - Inductor: Ferrite core – Pot core – Air core – Fixed, tapped and variable inductors – Factors affecting inductance and uses of inductors

  - Voltage source and current source

  - AC and DC signals

    - Transformer 									    	    3

Elementary idea of transformer — Features and specifications of wideband transformer — RF and AF transformer

    - Relays, Switches, Cables and Connectors 					    	    7

Familiarity with following components: —

- Relay: Reed relay & solid state relays – Their characteristics, specifications and applications

- Cables: RF cables – High temperature cables – Low impedance cables – TV and telephone line cables – Their characteristics and specifications

- Manually operated switches: Toggle switch – Keyboard switch – Push-button switch – Rotary switch – Thumb-wheel switch – Cross-bar multi switch – Their features and applications

- Connectors: Plugs and sockets – RF connectors – Edge connectors for PCB – Rating and specifications of connectors – Factors affecting choice of connectors – Choice of connectors for different applications

### G R O U P  –  B									        15 PERIODS

  - Zener Diode 										    3

Breakdown: Zener and avalanche – Construction of Zener diode and operation of Zener diode in reverse biased condition – Characteristics and equivalent circuits, specifications – Simple voltage regulator circuit

  - Bipolar Transistor 									    7

- Construction and operation of NPN and PNP transistors-V-I characteristics, transistor in active, saturation and cut-off-CE, CB, CC configuration and their differences, definitions of current gains and their relationship

- Transistor as simple amplifier & oscillator and their simple application

  - Field Effect Transistor 									    5

- Construction, operation and VI characteristics of JFET, pinch-off voltage, drain résistance, transconductance, amplification factor and their relationship

- Enhancement and depletion type MOSFET- concepts of CMOS

- Differences between BJT and JFET

### G R O U P  –  C									        10 PERIODS

  - Unijunction Transistor 									    2

Construction, operation and characteristics of UJT – Equivalent circuit – UJT as relaxation oscillator – Field of applications

  - Thyristor 										    3

Construction, operation and characteristics of SCR – Turn on and turn off mechanism – SCS, DIAC, TRIAC and their uses

  - Optoelectronics 									    3

Elementary ideas of LED, LCD, photodiode, phototransistor and solar cell and their applications

  - Integrated Circuits 									    2

Basic idea of ICs – Classifications: linear and digital ICs, SSI, MSI, LSI and VLSI – field of applications

R E F E R E N C E   B O O K S

- Electronic Principle / A.P. Malvino / Tata McGraw-Hill

- Electronic Devices & Circuits / Millman & Halkias / Tata McGraw-Hill

- Basic Electronics & Linear Circuits / Bhargava / Tata McGraw-Hill

- Electronic devices & Circuit Theory / Boylestad & Nashalsky / PHI

- Electronic Fundamentals & Applications / D. Chattopadhyay & P.C. Rakhshit / New Age International

- Electronic Components and Materials / Madhuri A Joshi / Wheeler Publishers

- Electronic Component / Padmanaban

- Electronic Component / Ramchander

- Electronic Measurement and system / R.G. Gupta / Tata McGraw-Hill

_______

B U I L D I N G   M A T E R I A L S   &   C O N S T R U C T I O N

| Subject Code CE / 3 / T3 / BMC | Course offered in Part – II First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A (BUILDING MATERIALS) |  | BRICKS AND TILES | 5 |
|  |  | STONES | 2 |
|  |  | LIME AND LIME PRODUCTS | 2 |
|  |  | SAND | 2 |
|  |  | CEMENT | 4 |
|  |  | MORTAR | 2 |
|  |  | CONCRETE | 5 |
|  |  | TIMBER | 4 |
|  |  | METALS AND OTHER ENGINEERING MATERIALS | 2 |
|  |  | PAINTS AND VARNISHES | 2 |
| B (BUILDING CONSTRUCTION) |  | CONSTRUCTION PLANNING AND STORAGE OF MATERIALS | 2 |
|  |  | FOUNDATION | 3 |
|  |  | BRICK AND STONE MASONRY | 4 |
|  |  | DAMP PROOFING | 3 |
|  |  | LINTEL AND ARCHES | 3 |
|  |  | ROOFS AND ROOF COVERINGS | 3 |
|  |  | DOORS AND WINDOWS | 3 |
|  |  | SCAFFOLDING | 2 |
|  |  | STAIR AND STAIR CASES | 2 |
|  |  | FLOORING | 3 |
|  |  | WALL FINISH | 2 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOTAL PERIODS: 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4 | 7 | ANY 25 | FOUR | 1 x 25 = 25 | TWO | ANY FIVE, TAKING AT LEAST TWO FROM EACH GROUP | TEN | 10 X 5 = 50 |
|  | 5, 6, 7 | 7 |  |  |  | TWO |  |  |  |
|  | 8, 5, 6, 7 | 4 |  |  |  | ONE |  |  |  |
| B | 1, 2, 3, 4 | 7 |  |  |  | TWO |  |  |  |
|  | 5, 6, 7, 8 | 7 |  |  |  | TWO |  |  |  |
|  | 9, 10, 11 | 4 |  |  |  | ONE |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  –  A 	Building Materials 						        30 PERIODS

- Bricks and Tile

- Manufacture – Classification – Quality requirements					      	    3

- Special bricks: Uses only on heavy duty burnt clay bricks — Fly ash bricks burnt — Clay hollow bricks — Acid resistance bricks — Fire clay bricks — Refractory bricks				      	    2

- Stones

Sources — Classification: Geological, Physical & Chemical with examples and use — Strength and tests — Quality requirement							      		    		    2

- Lime and Lime Products

Classification of lime — Properties and specific uses — Slaking and setting of lime		    	    2

- Sand

Sources of sand: Pit, River & Sea — Coarse, medium & fine sand with their uses — Characteristics of good quality sand for mortar and concrete work — Function of sand in mortar and concrete — Bulking of sand       2

- Cement

- Definition of Portland Cement — Ingredients of Portland Cement — Common proportions and their functions 											    1

- Different types of cement: Ordinary Portland Cement, Rapid Hardening Cement, Low Heat Portland Cement, Blast Furnace Slag Cement, Pozzolona Cement, High Strength Cement, Sulphate Resisting Cement, White & Coloured Cement (Properties & uses only) — Different grade of cement 		    2

- Field test for cement — Stacking and storing of cement — Precautionary measures	      	    1

- Mortar

Cement–sand mortar – usual proportions and specific uses — Lime surki & lime-sand mortar – usual proportions and specific uses — Composite mortar – usual proportion and specific uses — Mud mortar – composition and use										                 2

- Concrete

- Definition and chief ingredients of concrete — Lime-concrete – ingredients used and their qualities, different mix proportions and their specific use in construction				      	    1

- Cement-concrete — Coarse and fine aggregates — Binding materials — Characteristics of good quality coarse aggregates, recommended size of coarse aggregate for various concrete works, fineness modulus of coarse aggregates — Characteristics of good quality fine aggregates — Grading and fineness modulus	      									    2

- Specification and function of water in concrete, slump of concrete – its determination and recommended values for various works — Water cement ratio: Definition, its effect on strength of concrete — Curing of concrete     								    1

- Controlled concrete and ordinary concrete — Nominal mix proportions — Grades of concrete and their specific uses								      			    1

- Timber

- Definition — Characteristics of good quality timber — Names of commonly used good quality timbers and their specific uses in construction — Defects in timber — Decay and diseases (short discussion only)	    											    2

- Seasoning of timber – object, common methods of seasoning — Natural & artificial preservation of timber – common methods — Timber products & substitute				      	    2

- Metals and other engineering materials

Characteristics and uses of: Cast Iron, Mild Steel, High Tensile Steel (HTS), HYSD, Alloy Steel — Uses of: Expanded metal, IRC fabric, Cast Aluminium, Brass, Polymer, Plain & Frosted Glass, Tar & Bitumen    	    2

- Paints and Varnishes

Definition — Object and characteristics of good paint — Composition of oil bound paint: Bases, Vehicle, Filler, Solvent & Pigment — Types of various paints, characteristics and uses — Method of applying paint to different surfaces — Varnishes: Definition, composition and uses 		    			    2

G R O U P  –  B 	Building Construction					        30 PERIODS

- Construction Planning and Storage of Materials

Definition of construction planning, planning techniques, advantages, networking technique only (in brief) — Storage of materials at site (necessity only)				      		    		    2

- Foundation

- Concept of foundation — Object of foundation — Determination of width and depth of foundation 	    1

- Different types of foundation used at specific locations (no details of constructions) — Causes of failure of foundation								      			    2

- Bricks and Stone Masonry

    - Brick masonry — Technical terms used in brick masonry — Bonding — Object of bonding — Different types of bonding — Their uses at specific location					      	    1

    - General principles and precautions in brick masonry work — Mortar, tools and equipment used in brick masonry works							      				    1

    - Brick corbel — Reinforced brickwork: Its advantages & uses over ordinary brickwork — Brick parapet: Object of providing it — Thickness of walls: Factors governing it			      		    1

    - Stone masonry — Classification: Rubble & Ashlars – Their characteristics and uses – Mortar with usual proportion — List of tools and equipment used in stone masonry	      			    	       1

- Damp Proofing

      - Dampness — Causes of dampness & its effects — Prevention of dampness — Materials used for damp proofing 											    	       2

      - Damp proof course used for basement and at plinth — Damp proofing of roofs — Illustrative sketches1

- Lintel and Arches

        - Lintels – its advantages and classification						      		    1

        - Arches — Object of providing it — Parts of an arch — Classification of arches (schematic sketches) — Comparison between arches and lintels						      		    2

- Roofs and Roof Coverings

          - Classification of roofs: Flat roof and pitched roof — Different types of merits and demerits of flat & pitched roof     											    2

          - Roof coverings: Thatch, Slates, Tiles, A.C. Sheet, G.C.I. Sheet – their specific uses	      	    1

- Doors and Windows

            - Doors: Names of different types — Their uses at specific locations			      	    2

            - Windows: Names of different types — Their uses at specific locations			      	    1

- Scaffolding

Object of scaffold — Names of different types of scaffold — Their specific uses — Different parts of a brick layer’s scaffold & mason’s scaffold — Advantages of steel scaffold over timber scaffold               		    2

- Stair and Staircases

Definition and object of stair — Names of different parts of a stair — Requirements of a good stair — Standard dimensions — Classification of different types of a stair with illustrative simple line sketches, their uses at specific locations									    		    2

- Flooring

  - Floor — Object of a floor — Name of different types of floors — Their uses at various locations    	    1

  - Composition and construction details of artificial stone flooring — Terrazzo or mosaic flooring    	    2

- Wall Finish

Plastering & Pointing — White & Colour Washing — Distempering & cement based painting — Object, composition and uses at specific locations					      		    	    2

_______

H Y D R A U L I C S   &   H Y D R A U L I C   S T R U C T U R E

| Subject Code CE / 3 / T4 / HHS | Course offered in Part – II First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| GROUP-A (HYDRAULICS) | 1 | INTRODUCTION | 2 |
|  | 2 | FLUID STATIC | 5 |
|  | 3 | FLUID FLOW | 5 |
|  | 4 | FLUID MEASUREMENT | 5 |
|  | 5 | FLOW THROUGH PIPES | 4 |
|  | 6 | OPEN CHANNEL FLOW | 8 |
| GROUP-B (HYDRAULIC STRUCTURE) | 7 | STORAGE DAMS | 12 |
|  | 8 | RIVER INTAKE | 3 |
|  | 9 | CANAL STRUCTURE | 6 |
|  | 10 | RIVER TRAINING WORKS | 5 |
|  | 11 | BRIDGES AND CULVERTS | 6 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOTAL PERIODS: 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1,2,3 | 6 | ANY 25 | 1 | 1 X 25 = 25 | ONE | ANY FIVE, TAKING AT LEAST TWO FROM EACH GROUP | 10 | 10 X 5 = 50 |
|  | 4 | 2 |  |  |  | TWO |  |  |  |
|  | 5 | 4 |  |  |  | TWO |  |  |  |
|  | 6 | 3 |  |  |  |  |  |  |  |
| B | 7 | 6 |  |  |  | THREE |  |  |  |
|  | 8 | 3 |  |  |  |  |  |  |  |
|  | 9 | 2 |  |  |  |  |  |  |  |
|  | 10 | 2 |  |  |  | TWO |  |  |  |
|  | 11 | 2 |  |  |  |  |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  –  A 	Hydraulics					        		        29 PERIODS

- Introduction										    2

  - Definition of Hydraulics, Hydrostatics and Hydrodynamics

  - Fluid properties: Density, Specific Weight, Specific Gravity, Viscosity, Surface Tension — Ideal fluid and real fluid

- Fluid Static										    5

    - Fluid pressure: Hydrostatics Law, Pressure Head, Absolute & Gauge Pressure, Vacuum Pressure

    - Measurement of pressure by gauges: Piezometer tube, simple and differential manometer — Working principles and simple problems related to engineering application

    - Static fluid pressure on plane surface: Total pressure & centre of pressure on horizontal, vertical and inclined immersed surface, rectangular and circular surface — Simple problems related to engineering application in sluice gate & lock gate

- Fluid flow										    5

      - Types of fluid flow: Steady and unsteady flow, uniform and non-uniform flow, laminar and turbulent flow — Reynolds’s number, rate of flow, mean velocity and continuity equation

      - Energy of flowing fluid: Pressure energy, kinetic energy & potential energy — Bernoulli’s Theorem: Statement and explanation only (no proof) — Hydraulic and energy gradient — Simple problems

- Fluid measurement									    5

        - Flow through orifices: Types of orifice — Vena contracta — Co-efficient of contraction, velocity and discharge — Discharge through sharp small orifices — Numerical problems

        - Venturimeter, orifice meter & pitot tube: Purpose of such instruments, short description and direct application of formula to solve simple problems (no deduction)

        - Flow over notches: Difference between orifice and notch — Derivation of discharge formula over rectangular and V-notch — Numerical problems

        - Flow over weir: Difference between weir and notch — Derivation of discharge formula over rectangular weir — Numerical problems

- Flow through pipes									    4

          - Darcy Weisbach formula for frictional head loss in pipe

          - Minor losses in pipe flow: Loss due to sudden enlargement and contractions — Losses at entrance in the pipe and at exit of pipe, pipe bends, pipe fittings, application of formula directly — Solution of simple problems for losses in pipe

          - Energy and hydraulic gradient lines for flow through pipes

- Open channel flow									    8

            - Definition of open channel — Wetted perimeter — Hydraulic mean depth — Computation of discharge through an open channel — Statement of Chezy’s formula — Manning’s formula and Kutter’s formula — Critical velocity, CVR, design of canal for a given discharge (using Kennedy’s and Kutter’s formula) — Numerical problems

            - Condition of maximum discharge through the channel of rectangular and trapezoidal section

            - Definition and expression for specific energy, critical depth, critical velocity, super critical and sub critical flow — Numerical problems

            - Hydraulic jump — Numerical problems

G R O U P  –  B 	Hydraulic Structure					        31 PERIODS

- Storage dam										  12

              - Types of dams — Choice of type of dam — Determination of height

              - Gravity Dams: General principles of design, low and high dams, forces acting — Stability and stresses in gravity dams — Uplift, foundation treatment and drainage galleries

              - Earthen Dams: Homogeneous type, zoned type, diaphragm type (labelled sketches with suitability) — Causes of failure of earthen dam — Drainage of dam & its foundation — Core wall and cut-off wall

              - Rock fill dams — Arch dams — Composite dams (Definition and sketch only)

              - Spill ways: Definition, function, types — Spillway gates

- River intake										    3

Introduction, various types and general principles of their hydraulic design

- Canal structure										    6

                - Cross Drainage Works: Aqueducts – Super Passage – Siphon – Syphon Aqueduct – Level Crossings — Definitions, function and label sketches

                - Canal Fall: Definition, function, typical sketches of two most common types

                - Venturi Flumes: Definition, function, labelled sketch only

- River training works									    4

- Definition, object, different types of river training works — Spars, Groynes, Mattresses, Aprons, Bell’s Band, Levels — Description, use and typical sketches

- Different measures for maintaining minimum depth of navigation

- Bridges and culverts									    6

  - Introduction, general principles of hydraulic design, alignment, selection of site, number of spans

  - Water way calculation, scour depth, afflux clearance depth of foundation – Definition and principles only

  - Box and pipe culverts, cause ways and submersible bridges – Definition, use and typical sketches only

_______

F I E L D   S U R V E Y I N G  –  I

| Subject Code CE / 3 / T5 / FS1 | Course offered in Part – II First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A | 1 | INTRODUCTION | 3 |
|  | 2 | LINEAR MEASUREMENTS | 10 |
|  | 3 | CHAIN SURVEYING | 15 |
| B | 4 | COMPASS SURVEYING | 13 |
| C | 5 | PLANE TABLE SURVEYING | 7 |
| D | 6 | COMPUTATION OF AREA | 4 |
|  | 7 | LEVELING | 8 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOTAL PERIODS: 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1,2,3 | 11 | 9 | 1 | 9 | THREE | TWO | 10 | 20 |
| B | 4 | 7 | 6 | 1 | 6 | TWO | ONE | 10 | 10 |
| C | 5 | 6 | 5 | 1 | 5 | TWO | ONE | 10 | 10 |
| D | 6, 7 | 6 | 5 | 1 | 5 | TWO | ONE | 10 | 10 |
| TOTAL OF OBJECTIVE: | 25 | TOTAL OF SUBJECTIVE: | 50 |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  –  A 									        28 PERIODS

- Introduction										    3

  - Definition and object of surveying

  - Primary divisions of surveying

  - Classification of surveying

  - Principles of surveying

  - Measurements, units of measurements

  - Work of the surveyor

  - Scales

- Linear measurements									  10

    - Method of determining distances

    - Instruments for measurements of distance and their use Engineers, Gunter's & metric chain, & other minor instruments

    - Ranging out survey lines, line ranger

    - Methods of chaining survey lines: (i) on level ground (ii) on sloping ground

    - Degree of accuracy in chaining

    - Errors and mistake in chaining

    - Numerical Problem on correction in chain and tape measurements

- Chain surveying									               15

      - Triangulation & traversing

      - Chain triangulation

      - Reconnaissance, fixing stations well conditioned triangle

      - Chain line, check line, tie line, base line, etc.

      - Offsets

      - Booking field notes.

      - Right angle setting in field, use of cross staff and optical square and with chain and tape

      - Obstacles in chaining

      - Numerical problems on chaining past obstacles

      - Plotting. Calculation of areas

      - Demonstration of Mouza map & use

G R O U P  –  B 									       13 PERIODS

- Compass surveying

        - Compass traverse

        - Methods of traversing

        - Instruments for measurement of angles, Clinometers, Ghat tracer etc.

        - Bearing of lines, designation of bearings-relation of included angles and bearing latitude and departure

        - Local attraction-causes, effects & elimination

        - Dip of the needle, magnetic declination-causes

        - Traversing with chain and compass

        - Plotting of the traverse

        - Closing error and its adjustment

        - Errors in compass surveying

        - Numerical problems

G R O U P  –  C 									          7 PERIODS

- Plane table surveying

          - Definition, objects and suitability

          - Equipment necessary in plane table surveying

          - Advantage and disadvantage of plane table surveying

          - Setting up of the plane table

          - Methods of plane table surveying

          - Three point problem and its solution

          - Errors in plane table surveying

G R O U P  –  D 									          12 PERIODS

- Computation of areas                                   4

            - Methods of computation of areas

            - Determination of area from Mouza map

            - Numerical problems

- Levelling				              8

  - Definition of terms used in levelling

  - Types of levels

  - Types of levelling staff

  - Temporary adjustment of dumpy level

  - Principles of levelling

  - Bench mark, reduced level, level surface and horizontal surface

  - Booking staff readings

  - Classification of levelling

  - Profile levelling

  - Numerical Problems

_______

Q U A N T I T Y   S U R V E Y I N G

| Subject Code CE / 3 / T6 / QS | Course offered in Part – II First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A | 1 | DEFINITION OF AN ESTIMATE AND TYPES | 6 |
|  | 2 | SYMMETRICAL & UNSYMMETRICAL BOUNDARY WALL (USING MODULAR & TRADITIONAL BRICKS) | 4 |
|  | 3 | CENTRE LINE, LONG WALL & SHORT WALL METHOD WITH EXAMPLE | 4 |
|  | 4 | DEFINITION OF FLOOR AREA, CARPET AREA, PLINTH AREA, FAR | 4 |
| B | 5 | ESTIMATE OF DIFFERENT ITEMS OF WORKS INVOLVED IN A SINGLE STOREY RESIDENTIAL BUILDING | 15 |
| C | 6 | ESTIMATE OF R.C.C. BEAMS, CHAJJA, LINTEL AND SLAB (ONE WAY & TWO WAY REINFORCEMENT) SHOWNG BAR BENDING SCHEDULE | 13 |
| D | 7 | CALCULATION OF QUANTITY OF MATERIALS OF DIFFERENT ITEM OF WORKS | 6 |
|  | 8 | CALCULATION OF VOLUME OF EARTH WORK OF DIFFERENT WORKS | 8 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOTAL PERIODS: 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1,2,3,4 | 10 | 8 | 1 | 1 x 25 = 25 | THREE | TWO | 10 | 20 |
| B | 5 | 5 | 4 |  |  | THREE | ONE | 10 | 10 |
| C | 6 | 6 | 5 |  |  | TWO | ONE | 10 | 10 |
| D | 7, 8 | 10 | 8 |  |  | TWO | ONE | 10 | 10 |
| TOTAL OF OBJECTIVE: | 25 | TOTAL OF SUBJECTIVE: | 50 |

D E T A I L   C O U R S E   C O N T E N T

( Use of relevant BIS : code of practice and P.N.O. schedule of rates are to be followed in teaching the subject.

G R O U P  –  A  									        22 PERIODS

- Definition of an estimate and types							  10

Definition of an estimate and its different types — Factors to be considered during preparation of a detailed estimate — Units of dimensions for materials and works and mode of measurement for different items of works and materials with the background of BIS-1200 — Degree of accuracy in estimate method of measurement for different items of works and materials

- Symmetrical & Unsymmetrical Boundary Wall (using modular & traditional bricks) 	    4

Symmetrical and unsymmetrical boundary wall using both modular & traditional bricks following any method.

- Centre line, long wall & short wall method with example				    4

Centre line or "out to out" and "in to in" method — Underground masonry water tank/septic tank by any methods

- Definition of floor area, carpet area, plinth area, FAR				    4

Definition of floor area, carpet area, plinth area, covered area and F.A.R.

G R O U P  –  B  									        15 PERIODS

- Estimate of different items of works involved in a single storey residential building

Quantity estimate of different items of work involved in a single storey double-roomed masonry building showing front varandah, one kitchen and one W.C. & bath.

G R O U P  –  C  									        13 PERIODS

- Estimate of R.C.C. beams, chujia, lintel and slab (one way & two way reinforcement) showing bar bending schedule)

Bar bending schedule for reinforcement calculation in standard proforma including calculation of volume of concrete of beams, chajja, lintel and slab, quantity of shuttering for R.C.C. work.

G R O U P  –  D  									        25 PERIODS

- Calculation of quantity of materials of different items of works			  10

Calculation of quantity of materials of different items of works namely: Brick work – Cement concrete works – Timber work – Plastering – Painting – Flooring

- Calculation of volume of Earth work of different works				  15

Mid-section formula, Trapezoidal formula or Average end formula, Prismoidal formula and its applications in case of earth work calculation in roads both in cutting and in embankment, tanks and irrigation canals (with no transverse slope).

_______

C O M P U T E R   A I D E D   D E  S I G N   &   D R A F T I N G

| Subject Code CE / 3 / S1 / CADD | Course offered in Part – II First Semester | Course Duration 17 weeks | 6 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |

O B J E C T I V E

On satisfactory completion of the course, the students should be in a position to solve two dimensional design & drafting problems by being able to use AutoCAD commands to make a drawing, create text, dimension a drawing, hatch patterns and make & insert symbols & blocks. They will also be able to plot drawings. This course is compatible to both AutoCAD Release 14 & AutoCAD 2000.

E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout the Part – II 1st Semester. Distribution of marks: Lab notebook – 15, Drawing sheets – 35.

- External Assessment of 50 marks shall be held at the end of the Part – II 1st Semester. One assignment per student from any one of the assignments done is to be performed. Assignment is to be set by lottery system.

Distribution of marks: Drawing sheets – 40; On the spot job – 40; Viva-voce – 20.

M O D U  L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
|  | GETTING STARTED – I | 3 |
|  | GETTING STARTED – II | 6 |
|  | DRAW COMMANDS | 12 |
|  | EDITING COMMANDS | 12 |
|  | DRAWING AIDS | 3 |
|  | CREATING TEXT | 3 |
|  | BASIC DIMENSIONING | 3 |
|  | INQUIRY COMMANDS | 3 |
|  | EDITING DIMENSIONS | 3 |
|  | HATCHING | 3 |
|  | BLOCKS | 6 |
|  | PLOTTING DRAWINGS | 3 |
|  | PRACTICE WITH COMPLETE DRAWING | 30 |
| CONTACT PERIODS: 90 | INTERNAL ASSESSMENT: 12 | TOTAL PERIODS: 102 |

D E T A I L   C O U R S E   C O N T E N T

- Getting Started – I 									    3

Starting AutoCAD – AutoCAD screen components – Starting a drawing: Open drawings, Create drawings (Start from scratch, Use a template & Use a wizard) – Invoking commands in AutoCAD – Drawing lines in AutoCAD – Co-ordinate systems: Absolute co-ordinate system, Relative co-ordinate system – Direct distance method – Saving a drawing: Save & Save As – Closing a drawing – Quitting AutoCAD

- Getting Started – II 									    6

Opening an existing file – Concept of Object – Object selection methods: Pick by box, Window selection, Crossing Selection, All, Fence, Last, Previous, Add, Remove – Erasing objects: OOPS command, UNDO / REDO commands – ZOOM command – PAN command, Panning in real time – Setting units – Object snap, running object snap mode – Drawing circles

- Draw Commands 										  12

ARC command – RECTANG command – ELLIPSE command, elliptical arc – POLYGON command (regular polygon) – PLINE command – DONUT command – POINT command – Construction Line:  XLINE command, RAY command – MULTILINE command

- Editing Commands 									  12

MOVE command – COPY command – OFFSET command – ROTATE command – SCALE command – STRETCH command – LENGTHEN command –TRIM command – EXTEND command – BREAK command – CHAMFER command – FILLET command – ARRAY command – MIRROR command –MEASURE command – DIVIDE command – EXPLODE command – MATCHPROP command – Editing with grips: PEDIT

- Drawing Aids 										    3

Layers – Layer Properties Manager dialog box – Object Properties: Object property toolbar, Properties Window – LTSCALE Factor – Auto Tracking – REDRAW command, REGEN command

- Creating Text 										    3

Creating single line text – Drawing special characters – Creating multiline text – Editing text – Text style

- Basic Dimensioning 									    3

Fundamental dimensioning terms: Dimension lines, dimension text, arrowheads, extension lines, leaders, centre marks and centrelines, alternate units – Associative dimensions – Dimensioning methods – Drawing leader

- Inquiry Commands 									    3

AREA – DIST – ID – LIST – DBLIST – STATUS – DWGPROPS

- Editing Dimensions 									    3

Editing dimensions by stretching – Editing dimensions by trimming & extending – Editing dimensions: DIMEDIT command – Editing dimension text: DIMTEDIT command – Updating dimensions – Editing dimensions using the properties window – Creating and restoring Dimension styles: DIMSTYLE

- Hatching 											    3

BHATCH, HATCH commands – Boundary Hatch Options: Quick tab, Advance tab – Hatching around Text, Traces, Attributes, Shapes and Solids – Editing Hatch Boundary – BOUNDARY command

- Blocks 											    6

The concept of Blocks – Converting objects into a Block: BLOCK, _BLOCK commands – Nesting of Blocks – Inserting Blocks: INSERT, MINSERT commands – Creating drawing files: WBLOCK command – Defining Block Attributes – Inserting Blocks with Attributes – Editing Attributes

- Plotting Drawings in AutoCAD								    3

PLOT command – Plot Configuration – Pen Assignments – Paper Size & Orientation Area – Plot Rotation & Origin – Plotting Area – Scale

- Practice with Complete Drawing 							  30

Each student is required to prepare a set of orthographic projections of a building designed by himself / herself in the First Year Second Semester in the subject “BASIC DESIGN” or of any other design approved by the teacher-in-charge.

R E F E R E N C E   B O O K S   /   C D

- AutoCAD 14 for Windows – Bible (with Applications) / Sham Tickoo / Galgotia Publications Pvt. Ltd.

- Advanced AutoCAD / Robert M. Thomas / Sybex BPD

- AutoCAD Part – 1 & 2: Banglay Prokashito Tutorial / CD Media / Sonolite, 55, Elliot Road, Kolkata – 16

_______

Q U A N T I T Y   S U R V E Y I N G   ( S E S S I O N A L )

| Subject Code CE / 3 / S2 / SQS | Course offered in Part – II First Semester | Course Duration 17 weeks | 3 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |

###### M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
| 1 | ESTIMATE OF DIFFERENT ITEMS OF WORKS INVOLVED IN A TWO-STORIED RESIDENTIAL BUILDING | 9 |
| 2 | ESTIMATE OF A SLAB CULVERT & HUME PIPE CULVERT | 6 |
| 3 | ESTIMATE OF A MANHOLE | 3 |
| 4 | ESTIMATE OF DOORS & WINDOWS | 6 |
| 5 | ESTIMATE OF PLINTH PROTECTION & SURFACE DRAIN WORKS. | 6 |
| 6 | WRITING OF SPECIFICATION | 6 |
| 7 | RATE ANALYSIS | 9 |
| CONTACT PERIODS: 45 | INTERNAL ASSESSMENT: 6 | TOTAL PERIODS: 51 |

###### E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout the Second Year First Semester. Distribution of marks: Performance of Job – 35, Notebook – 15.

- External Assessment of 50 marks shall be held at the end of the Second Year First Semester on the entire syllabus. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: Note Book – 25, Viva-voce – 25.

D E T A I L   C O U R S E   C O N T E N T

  - Estimate of different items of works involved in a two-stored residential building 	  10

Discuss only difference of writing items with single storied building (Details Estimate included in project work.)

  - Estimate of slab culvert & hume pipe culvert				    		  10

For estimate of slab culvert & Hume pipe same dimension may be taken from C.E Drawing Sessional work.

  - Estimate of a Manhole									    5

A manhole according to BIS-411 or Public Health Engineering (Government of West Bengal) standard.

  - Estimate of doors & windows								  10

Details estimate of wooden, glass and aluminium doors and windows.

  - Estimate of a Plinth protection & surface drain works					  10

Estimate of suitable plinth protection of a building including surface drain.

  - Writing of specification									  15

Writing of specification in a simple way of the following items of work with P.W.D schedule background: —

(i) Earth work in excavation, (ii) Foundation concrete, (iii) Brick work in foundation and superstructure, (iv) Damp-proof course, (v) R.C.C. Roof, (vi) Plastering and pointing, (vii) Flooring, (viii) Door/window shutters and frame, (ix) Painting to wood work and steel work, (x) White washing.

  - Rate analysis										  15

Define purpose of rate – factor affecting the rate analysis procedure of rate analysis, schedules of rate, prepare analysis of rates of the following: —

(i) Earth work, (ii) Brick work, (iii) Flooring, (iv) Roofing, (v) Plastering and pointing, (vi) Timber doors and windows, (vii) White wash, colour wash, painting and distempering, (viii) Cement concrete and R.C.C. work, (ix) Sanitary and plumbing, (x) Structural steel work and grills, (xi) Roads (pre-mix chipping carpets, seal coat, Mastic asphalt surfacing).

_______

C I V I L   E N G I N E E R I N G   D R A W I N G (SESSIONAL, GR. A)

| Course offered in Part – II First Semester | Course Duration 17 weeks | 4 sessional contact periods per week | Full Marks 25 |
| --- | --- | --- | --- |

C O U R S E   &   E X A M I N A T I O N   S C H E D U L E

| SUBJECT CODE | NAME OF THE COURSES | MARKS ALLOTTED |
| --- | --- | --- |
| CE / 3 / S3 / SCD1 | Civil Engineering Drawing (S) – I | Continuous Internal Assessment of 25 marks is to be carried out by the teachers throughout the second year first semester. External Assessment of 75 marks shall be held at the end of the Part - Ii second Semester on the entire syllabus of Civil Engineering Drawing (S) – I (Gr. A & B) Distribution of marks: drawing sheets – 60, viva-voce – 15. |

###### T I M E   S C H E D U L E

| SHEET NO. | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
| 1 | BRICKS & BRICK BOUNDING | 15 |
| 2 | CULVERT | 15 |
| 3 | SLOPED ROOF WITH WOODEN ROOF TRUSS | 15 |
| 4 | SINGLE STORIED RESIDENTIAL BUILDING | 15 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOTAL PERIODS: 68 |

##### D E T A I L   C O U R S E   C O N T E N T

S h e e t – 1 	Bricks & brick bonding								  15

- Different types of bricks: Traditional & Modular

- Different types of closers & bats: King Closer — Queen Closer — Bevelled Closer — Quoin Closer — Metered Closer — Bull nose Closer — ½   Bat — ¾ Bat

- English & Flemish bond with traditional or modular bricks: Corner Walls (1½ brick main with 1½ brick main) — T- Junctions (1½ brick main with 1 brick partition) — Square Pillars (1, 1½, 2 & 2½, brick side) — Half-Brick Thick Wall (stretching bond)

- Raking bond: Diagonal bond — Herring bone bond — Zig-zag bond (1200 mm – 1600 mm wide)

S h e e t – 2 	Culvert										  15

- Single span slab culvert

- Single span Hume pipe culvert showing abutment wing, return wall, parapet, kerb and other accessories. Half sectional top view, half sectional front & side view.

S h e e t – 3 	Sloped roof with wooden roof truss							  15

- King post

- Queen post

Note: Half elevation to be shown with Asbestos / G.C.I. sheet & tiled roofing. Full span line diagram for each truss must be shown. Details of junctions are to be shown in larger scale.

S h e e t – 4 	Single storied residential building							  15

- Plan, elevation and section of a single storied small residential building from given sketch (line diagram). The building should have bathroom, latrine, veranda.

- Details of foundation plan (layout), roof plan, connection of roof & parapet, lintel & foundation are to be shown.

_______

C O M M U N I C A T I O N   S K I L LS   ( J O B )

| Subject Code CE / 4 / T1 / CSJ | Course offered in Part - II Second Semester | Duration 17 weeks | 2 lecture contact periods per week | Full Marks 38 |
| --- | --- | --- | --- | --- |

O B J E C T I V E

On satisfactory completion of the course, the students should be in a position to: —

- write letters asking for application forms;

- fill in application forms;

- prepare a resume or a CV;

- write letters of application in response to advertisements;

- learn how to write memos;

- learn how to write letters of enquiry, letters of complaint and letters to place orders;

- learn to understand and respond to tender notices.

M O D U L A R   D I V I S I O N   O F   T H E   SY L L A B U S   &   E X A M I N A T I O N    S C H E M E

| MODULE | TOPIC | CONTACT PERIODS | SUBJECTIVE QUESTIONS TO BE SET | TOTAL MARKS TO BE ANSWERED |
| --- | --- | --- | --- | --- |
| I | LOOKING FOR A JOB | 12 | QUESTIONS TO BE SET, FOLLOWING THE SKILLS DEVELOPED FOLLOWING THE UNITS IN THE TEXT BOOK: “ENGLISH SKILLS FOR TECHNICAL STUDENTS – TEACHERS’ HANDBOOK” | 16 |
| II | AT THE WORKPLACE | 18 |  | 22 |
| CONTACT PERIODS: 30 | INTERNAL ASSESSMENT: 4 | TOTAL PERIODS: 34 |

D E T A I L   C O U R S E   C O N T E N T

- Looking for a Job								  12

Asking for an Application Form — Filling in Application Forms — Writing a Covering Letter — Writing a Curriculum Vitae — Letters of Application: Reporting to an Advertisement

- At the Workplace								  18

Writing Memos — Business Letters: General Features — Letters of Enquiry — Letters to Place Orders

T E A C H I N G   I N S T R U C T I O N S

There should be no difference between the teaching methodology of the lecture classes of the subject COMMUNICATION SKILLS (JOB) and those of the sessional classes of the subject COMMUNICATION SKILLS (JOB) LAB, since all the modules are practical oriented.

Things to be followed by the polytechnics for effective teaching of the subject: —

- L R U C Room to be used for the classes;

- English newspapers be made available on a regular basis to the students;

- samples of different Application Forms be available the students.

##### T E X T   B O O K

ENGLISH SKILLS for Technical Students – TEACHERS’ HANDBOOK / West Bengal State Council of Technical Education in collaboration with THE BRITISH COUNCIL / Orient Longman

_______

I R R I G A T I O N   E N G I N E E R I N G

| Subject Code CE / 4 / T2 / IE | Course offered in Part - II Second Semester | Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPICS | CONTACT PERIODS |
| --- | --- | --- | --- |
| A | 1 | INTRODUCTION | 4 |
|  | 2 | HYDROLOGY | 7 |
|  | 3 | WATER REQUIREMENT OF CROPS | 7 |
| B | 4 | CANAL IRRIGATION | 7 |
|  | 5 | WELL IRRIGATION | 5 |
|  | 6 | CANAL HEAD WORKS | 8 |
| C | 7 | FLOOD CONTROL | 8 |
|  | 8 | WATER LOGGING | 5 |
|  | 9 | LAND RECLAMATION | 6 |
|  | 10 | MAJOR IRRIGATION PROJECTS IN INDIA | 2 |
| CONTACT PERIODS 60 | INTERNAL ASSESSMENT 8 | TOTAL PERIODS 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3 | 10 | 8 | 1 | 8 | THREE | TWO | 10 | 20 |
| B | 4, 5, 6 | 10 | 8 | 1 | 8 | FOUR | TWO | 10 | 20 |
| C | 7, 8, 9, 10 | 10 | 9 | 1 | 9 | THREE | ONE | 10 | 10 |
| TOTAL OF OBJECTIVE: | 25 | TOTAL OF SUBJECTIVE: | 50 |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  –  A  									        22 PERIODS

- Introduction									      	    4

  - Definition of irrigation, necessity of irrigation, benefits of irrigation, ill effects of irrigation.

  - Types of irrigation system – general principles of flow, lift, perennial inundation, tank and well irrigation.

  - Methods of irrigation – surface irrigation, sprinkler irrigation and sub-surface irrigation.

- Hydrology									      	    7

  - Hydrological cycle – precipitation; evaporation and transpiration losses.

  - Measurement of rainfall – Symon’s rain gauge. Average rainfall over an area. Arithmetical mean method, Thiessen’s polygon method and isohytel method, unit hydro graph.

  - Run off and run off co-efficient, factors affecting run off, rational method of measurement of run off indirectly.

- Water requirement of crops							      	    7

  - Definition of duty, delta and base period; crop period, crop seasons, crops in India; factors affecting duty; methods of improving duty; relation between duty, delta and base period; rotation of crops, duty for kharif and rabi crops.

  - Commanded area, intensity of irrigation, cumecs, capacity factor, time factor, outlet factor, crop ratio, overlap allowance; numerical problems.

G R O U P  –  B 									        22 PERIODS

- Canal Irrigation									      	    7

  - Different types of canals; classification of irrigation canal based on – (i) source of supply, (ii) function, (iii) discharge, (iv) alignment.

  - Different parts of an irrigation canal and their functions, canal sections in cutting, in filling and partly in cutting and partly in filling.

  - Losses of water in canals – percolation, evaporation and absorption in losses; canal lining – definition, types and advantages of lining, considerations for canal alignment; selection of site for canal off take point.

- Well Irrigation									      	    5

Shallow and deep wells; yield from a well, advantages and disadvantages of well irrigation, simple numerical problems.

- Canal Head Works								      	    8

  - Definition, object, general layout and functions of each port.

  - Weir and barrage – Definition, different between two, general principles of design, various types of weirs, profile of weir wall, up stream apron, down stream talus. Principles governing design and construction of barrages.

  - Silt and scour – silt analysis, Kennedy’s theory of critical velocity, Lacey’s theory of uniform flow in canals, application; methods of prevention of silt deposition in canals and reservoirs; scour and its effect & protection, silt excluders and ejectors.

G R O U P  –  C 									           22 PERIODS

- Flood control									      	    8

  - Definition of flood, causes of flood, effects of flood.

  - Methods of flood control – flood control reservoirs, flood walls, channel improvement, flood ways.

- Water Logging										    5

  - Introduction – ill effects of water logging, causes of water logging, factors responsible for water logging.

  - Anti water-logging measures – preventive measure – names of the different measures with short description; curative measures – names of the different measures with short description.

- Land Reclamation									    6

  - Definition necessity, characteristics of affecting fertility of soils.

  - Purposes of land reclamation processes; methods of land reclamation – name the methods with brief description.

  - Land drainage – methods of drainage with brief description mentioning location, construction and cost.

- Major Irrigation Projects In India							    2

Name of the different projects with salient points regarding their purpose, object, capacity, components, etc.

_______

s t r e n g t h  o f  M a t e r i a l s  &  T h e o r y  o f  S t r u c t u r e s

| Subject Code CE / 4 / T3 / SMTS | Course offered in Part - II Second Semester | Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A (STRENGTH OF MATERIALS) | 1 | BENDING MOMENT & S.F. IN BEAMS | 4 |
|  | 2 | BENDING STRESS IN BEAMS | 4 |
|  | 3 | SHEARING STRESS IN BEAMS | 4 |
|  | 4 | COLUMNS & STRUTS | 6 |
|  | 5 | COMBINED BENDING AND DIRECT STRESS | 3 |
|  | 6 | STRAIN ENERGY& IMPACT LOADING | 3 |
| B (THEORY OF STRUCTURES) | 7 | DEFINITION & GENERAL PRINCIPLES | 2 |
|  | 8 | PRIMARY STRESS ANALYSIS FOR STATICALLY DETERMINATE PIN JOINTED STRUCTURE | 8 |
|  | 9 | FIXED & CONTINUOUS BEAMS, PROPPED CANTILEVERS | 10 |
|  | 10 | MOMENT DISTRIBUTION METHOD | 8 |
|  | 11 | RETAINING WALL (EARTH RETAINING STRUCTURE) | 8 |
| CONTACT PERIODS 60 | INTERNAL ASSESSMENT 8 | TOTAL PERIODS 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4, 5, 6, 7 | 7 | ANY 25 | ONE | 1 x 25 = 25 | FOUR | ANY FIVE, TAKING AT LEAST TWO FROM EACH GROUP | TEN | 10 x 5 = 50 |
| B | 8, 9, 10, 11, 12 | 10 |  |  |  | FIVE |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

### G R O U P  –  A 	S t r e n g t h   o f   M a t e r i a l s					   24 periods

- B.M. & S.F. In Beams								      	    4

S.F. and B.M. diagrams for beams with an intermediate couple having hinged support at one end and free support at the other end.

- Bending Stress In Beams								      	    4

  - Bending stress in unsymmetrical sections – unequal flanges – I-section, T-section only.

  - Strength of a section – beam of uniform strength. Simple problems.

- Shearing Stresses In Beams							      	    4

  - Introduction – horizontal sheer stress in beams.

  - Distribution of shear stress in rectangular section, solid circular section, symmetrical rolled I-section.

  - Relation between maximum shear stress and average shear stress for rectangular and solid circular section – simple problems.

- Columns & Struts								      	    6

  - Problems for finding critical load by Euler’s formula for various kinds of end conditions for columns of: rectangular, circular, symmetrical and asymmetrical steel sections

  - Rankine–Gordon formula for critical load for various end conditions (no proof) – Related problems — Solution of problems

  - B.I.S. code formula – statement with elementary problems.

- Combined Bending & Direct Stress						      	    3

  - Introduction – direct stress and bending stress, combined direct and bending stress, load eccentricity about one axis and two axis for rectangular section, limit of eccentricity and core of solid and hollow rectangular and circular sections – solution of numerical problems.

  - Vertical structure subjected to wind pressure – masonry boundary wall – related problems.

- Strain Energy & Impact Loading						      		    3

Introduction – resilience, proof resilience and modulus of resilience, strain energy in bars in tension and compression for: gradually applied load.

G R O U P  –  B	T h e o r y   o f   S t r u c t u r e s 				                36 periods

- Definitions & General Principles						      	    2

Introduction, classification of structures, factor of safety and load factor, frame works, criterion for frame works – perfect, redundant and deficient frames. Different types of end supports of frames, concept of statically determinate and indeterminate structures, reactive forces, primary and secondary stresses, self-straining.

- Primary Stress Analysis For Statically Determinate Pin Jointed Structures	      	    8

  - Assumptions made in finding the forces in the members of a perfect frame.

  - Different methods of finding the forces in the members of a perfect frame – cantilever and simply supported, subjected to loading by: (a) graphical method, (b) method of joints, (c) method of sections.

  - Numerical problems with solutions.

- Fixed & Continuous Beams, Propped Cantilever				      		    10

  - Fixed Beams: To draw Shear Force and Bending Moment diagrams for – (a) uniformly distributed load over whole span, and, (b) point load at any intermediate point within the span.

  - Two Span Continuous Beams: To draw Shear Force and Bending Moment diagrams for two equal spans carrying – (a) uniformly distributed load over whole span, and, (b) equal point load at centre of each span; using Clapeyron’s Theorem of Three Moments.

  - Propped Cantilever: To find out prop reaction for rigid prop –  (i) moment area method— To draw Shear Force and Bending Moment diagrams for – (a) uniformly distributed load and, (b) point load at any intermediate position in the span.

- Moment Distribution Method							      	    8

  - Introduction, stiffness of a member – freely supported or ringed at either end, fixed at one end and freely supported at the other end, distribution factor, carry over factor, relative stiffness.

  - Application to continuous beams [two span] with point load and U.D.L. – S.F. and B.M. diagrams, application to stiff jointed frame – one bay portal frame with hinged and fixed base for vertical load only without sway.

- Retaining Walls (Earth Retaining Structures) 						    8

  - Introduction – Pressure due to earth, Rankine’s theory (statement only), line of resultant thrust, stability check, maximum and minimum, stress intensity at back, nature of stress diagram, minimum base width.

  - Numerical problems for finding pressure intensity at the base, checking stability for:

  - wall with vertical back and earth surface horizontal and level with top of wall,

  - in addition to (a) it carries a uniformly distributed super imposed load on top of back fill.

  - Problems for finding minimum base width.

_______

F I E L D   S U R V E Y I N G  -  I I

| Subject Code CE / 4 / T4 / FS2 | Course offered in Part - II Second Semester | Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A | 1 | LEVELLING | 12 |
|  | 2 | CONTOURING | 4 |
|  | 3 | THEODOLITE SURVEYING | 18 |
| B | 4 | CURVE SETTING | 10 |
|  | 5 | TACHEOMETRIC SURVEY | 10 |
|  | 6 | EARTH WORK CALCULATION | 6 |
| CONTACT PERIODS 60 | INTERNAL ASSESSMENT 8 | TOTAL PERIODS 56 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3 | 16 | ANY 25 | ONE | 1 x 25 = 25 | FOUR | FIVE, TAKING AT LEAST TWO FROM EACH GROUP | TEN | 10 x 5 = 50 |
| B | 4, 5, 6 | 18 |  |  |  | FIVE |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  –  A 									        34 PERIODS

- Levelling									    	  12

  - Errors due to curvature & refraction and corrections for them

  - Reciprocal levelling

  - Levelling difficulties

  - Errors in levelling precautions

  - Precision of levelling

  - Permanent adjustment of dumpy level

  - Numerical problems

- Contouring									      	    4

  - Definition of different terms

  - Characteristics of contour line

  - Uses of contour map

  - Methods of contouring

- Theodolite Surveying				 				    	       18

  - Type of theodolite and use

  - Description of transit theodolite

  - Main features of modern theodolite

  - Measurement of horizontal and vertical angles

  - Determination of heights of objects

  - Laying and prolonging a line

  - Theodolite traversing

  - Errors in theodolite traversing

  - Permissible limits of errors

  - Numerical problems

G R O U P  –  B									        26 PERIODS

- Curve Setting									      	    10

  - Classification of curve, simple, compound, reverse and transition curves

  - Degree of curvature, relation between radius and degree of curvature

  - Elements of simple circular curve and vertical curve

  - Setting out curve by offsets from the chords produced

  - Setting out curve by Rankine's method of tangential angles- (one & two theodolite method)

  - Numerical problems of curve setting

- Tacheometrie Survey								    	  10

  - Introduction, Instruments

  - Different type of tacheometric measurements

  - Principles of stadia method

  - Determination of stadia constants of a tachiometer

  - Basic idea of field work in tacheometric survey (Simple problem)

- Earth Work Calculation							      	    6

  - Volume by spot level and contours

  - Mass diagrams

  - Lift and lead

  - Simple numerical problem

_______

W A T E R   &   W A S T E   W A T E R   E N G I N E E R I N G  -  I

| Subject Code CE / 4 / T5 / WWE1 | Course offered in Part - II Second Semester | Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

# M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 2 |
| 2 | GROUND WATER | 5 |
| 3 | QUANTITY OF WATER | 5 |
| 4 | INTAKE WORKS AND TRANSPORTATION OF WATER | 3 |
| 5 | QUALITY OF WATER | 6 |
| 6 | TREATMENT OF WATER | 12 |
| 7 | DISTRIBUTION OF WATER | 4 |
| 8 | MAINTENANCE OF DISTRIBUTION SYSTEM | 4 |
| 9 | MUNICIPAL WATER SUPPLY AND SERVICE CONNECTIONS | 4 |
| TOTAL: | 45 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4, 5 | 15 | 13 | ONE | 1 x 13 = 13 | EIGHT | FIVE, TAKING AT LEAST TWO FROM EACH OF THE GROUPS ‘A’ & ‘B’ | TEN | 10 x 5 = 50 |
| B | 6, 7,8,9 | 14 | 12 | ONE | 1 x 12 = 12 |  |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

- Introduction

Hydrological cycle; sources of water; selection of source for a water supply scheme.

- Ground Water

Ground water table, formation of springs, infiltration galleries and wells. Wells-shallow and deep wells. Tube well – different methods of boring; cutters and strainers-tube well assembly; erection, development of tube ell; erection of pumps; pump operation and pump house; tube well-pump assembly and spares in vertical turbine pump; maintenance of tube-well. Determination of tube diameter; length and diameter of strainer.

- Quantity of Water

Types of demand – domestic, industrial, fire; variation of demand; population forecast; per capita demand, simple numerical problems.

- Intake Works & Transportation of Water

Types of intake, type of pipes used for conveyance of water-cast iron, PVC, steel, concrete, prestressed concrete and GI pipes, laying of pipes and their joints.

- Quality of Water

Common impurities in water and their effect; water for human consumption – wholesomeness and platability, water for industrial use; physical, chemical and biological tests of water; water quality standard; water borne diseases.

- Treatment of Water (in brief)

General flow diagrams of treatment of water, principles of plain sedimentation, coagulation and flocculation, coagulants and chemical equations involved in chemical coagulation, clari-flocculator. Filtration – principle, construction and operation of slow and rapid sand filter. Head loss in filter, negative head, air binding, mud ball formation and remedies. Disinfections – objective, disinfectants, chlorine dose, chlorine demand and residual chlorine, pre and post-chlorination, super chlorination, break point chlorination and chlorination technology in rural water supply. Miscellaneous treatment – removal of taste, odour, color, iron, manganese and hardness.

- Distribution of Water

Gravity system, direct pumping, pumping with overhead storage, layout of distribution system.

- Maintenance of Distribution System

Leakage detection, prevention of wastage, disinfections of new and old water mains and sub-mains, minimum and maximum pressure in water mains, corrosion and scale formation in water pipes – causes and methods of prevention.

- Municipal Water Supply & Service Connections

Systems of municipal water connection to individual premises and guiding regulations of municipalities; appurtenances of distribution system – sluice valve, air valve, reflex valve, scour valve, foot valve with strainer, stop cock, bib cock, fire hydrant, water meter, water supply to high rise buildings.

_______

C O S T I N G ,   C O N T R A C T   &   V A L U A T I O N

| Subject Code CE / 4 / T6 / CCV | Course offered in Part - II Second Semester | Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A | 1 | QUANTITY & COST ESTIMATE | 28 |
| B | 2 | CONTRACTS | 8 |
|  | 3 | P.W.D. ACCOUNTS | 4 |
|  | 4 | ARBITRATION | 4 |
|  | 5 | VALUATION | 16 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOATAL PERIODS: 68 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1 | 10 | ANY 25 | ONE | 1 x 25 = 25 | FOUR | FIVE, TAKING AT LEAST TWO FROM EACH GROUP | TEN | 10 x 5 = 50 |
| B | 2, 3, 4,5 | 17 |  |  |  | FIVE |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

### G R O U P  –  A 									        28 PERIODS

- Quantity & Cost Estimate							    	  28

  - Preliminary estimate of a double storied residential building (MIG group) by cubical quantity method, plinth area method, etc.

  - Quantity and cost estimate of a 50 users septic tank with an inspection chamber and soak pit (discuss design).

  - Quantity and cost estimate of flexible pavements of 1KM length.

  - Quantity and cost estimates for sinking one 40mm diameter tube well fitted with hand pump.

  - Quantity and cost estimate of R.C.C. columns with isolated and combined footings.

  - Quantity and cost estimate of steel truss (up to 10m span).

  - Quantity and cost estimate of R.C.C. piles and pile cap.

G R O U P  –  B 									        32 PERIODS

- Contracts										    8

Definition of tender and contract — Different types of civil engineering contract — Contract documents — Clauses of general conditions of contracts — Prepare one tender paper set.

- PWD Accounts									      	    5

Master roll, daily report measurement books, work order books, impress and temporary advance cash book, bills and vouchers, issue of materials, materials at site account, suspense accounts.

- Arbitration									      	    5

Different types of disputes arising during execution of a civil engineering project. Methods to reduce disputes and solving disputes by arbitration.

- Valuation									    	  20

Definition of different terms – (i) valuation, (ii) value and cost, (iii) scrap value and salvage value, (iv) assessed value (v) speculative value, (vi) sinking fund, (vii) depreciation and obsolescence. Qualifications and functions of a valuer and governing factors affecting the value of a property. Methods of valuation – rental and depreciation.

_______

C O M M U N I C A T I O N   S K I L L S   ( J O B )   L A B

| Subject Code CE / 4 / S1 / LCSJ | Course offered in Part - II Second Semester | Course Duration 17 weeks | 2 sessional contact periods per week | Full Marks 50 |
| --- | --- | --- | --- | --- |

O B J E C T I V E

On satisfactory completion of the course, the students should be in a position to: —

- look for suitable jobs by skimming through job advertisement;

- scan advertisements for specific information about particular jobs;

- develop aural-oral skills, recognition and interpretation of linguistic and non-linguistic forms which relate to job interviews;

- prepare for an interview;

- respond appropriately and politely at an interview;

- take part in group discussions;

- learn all kinds of communication needed at the workplace, including telephone calls.

M O D U L A R   D I V ISI ON   OF   T H E   S Y L L A B US   &   E X A M I N AT I O N   S C H E M E

| MODULE | TOPIC | CONTACT PERIODS | MARKS ALLOTTMENT |
| --- | --- | --- | --- |
|  | Looking for a Job | 6 | Continuous Internal Assessment of 25 marks is to be carried out throughout Part – II Second Semester, which should be based on the students’ performance of the tasks given by the subject teacher. The tasks would include: (a) Different kinds of business letters – at least two; (b) Memo – at least two; (c) Job Application – at least two; (d) Report Writing – teachers’ discretion. External Assessment of 25 marks shall be held at the end of Part – II Second Semester. |
|  | Job Interviews | 16 |  |
|  | At the Workplace | 8 |  |
| CONTACT PERIODS: 30 | INTERNAL ASSESSMENT: 4 | TOTAL PERIODS: 34 |

D E T A I L   C O U R S E   C O N T E N T

- Looking for a Job 									    6

Identifying Sources — Skimming Newspapers for Information

- Job Interviews * 									  16

Preparing for an interview — Responding Appropriately — Group Discussions — Using Language Effectively for Interaction

* Mock interviews are to be arranged and to be conducted by any suitable person

- At the Workplace 									    8

Communicating using the telephone

T E A C H I N G   I N S T R U C T I O N S

There should be no difference between the teaching methodology of the lecture classes of the subject COMMUNICATION SKILLS (JOB) and those of the sessional classes of the subject COMMUNICATION SKILLS (JOB) LAB, since all the modules are practical oriented.

Things to be followed by the polytechnics for effective teaching of the subject: —

- L R U C Room to be used for the classes;

- English newspapers be made available on a regular basis to the students;

- samples of different Application Forms be made available to the students.

### T E X T   B O O K

ENGLISH SKILLS for Technical Students – TEACHERS’ HANDBOOK / West Bengal State Council of Technical Education in collaboration with THE BRITISH COUNCIL / Orient Longman

_______

F I E L D   S U R V E Y I N G   P R A C T I C E  -  I

| Subject Code CE / 4 / S2 / SFS1 | Course offered in Part - II Second Semester | Duration 17 weeks | 4 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I SI O N   O F   T H E   S Y L L A B U S

| MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
| 1 | CHAIN SURVEYING | 16 |
| 2 | COMPASS SURVEYING | 12 |
| 3 | PLANE TABLE SURVEYING | 12 |
| 4 | LEVELLING | 16 |
| 5 | DRAWING PLATES | 4 |
| CONTACT PERIODS: 45 | INTERNAL ASSESSMENT: 6 | TOATAL PERIODS: 51 |

* In Field Survey practical the Institute can set up Field work in normal class routine or 2 weeks intensive Field Survey Practical within Campus or in near by Vicinity.

E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout the Second Year First Semester. Distribution of marks: Performance of Job – 35, Notebook – 15.

- External Assessment of 50 marks shall be held at the end of the Second Year First Semester on the entire syllabus. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: On spot job – 25, Viva-voce – 25.

D E T A I L   C O U R S E   C O N T E N T

  - Chain Surveying									    	   16

  - Reconnaissance & Preparation of index map.

  - Selection of stations & finalisation of Traverse.

  - Ranging a line; chaining a line, taking offsets with tape, setting out right angles with tape, chaining a line across obstacle.

  - Preparation of chain survey map of a small area available within the campus/vicinity of the institute.

  - Compass Surveying								    12

  - Study of Prismatic compass, setting the compass and measuring bearing of lines. Determining angle between two lines.

  - Prismatic compass traversing including plotting the traverse and showing graphical adjustment.

  - Plane Table Surveying								    12

  - Demonstration of accessories and other functions: centering, levelling & orientation of plane table

  - Traversing by plane table and adjustment of closing error graphically.

  - Plane table surveying of a small area including filling in details by radiation and intersection methods.

  - Levelling										    16

  - Temporary adjustment of level, taking staff readings.

  - Longitudinal section including plotting of Profile levelling.

  - Drawing Plates									      4

    - Chain surveying map

    - Prismatic compass traversing

    - Plane table surveying map

    - Longitudinal section including road alignment.

_______

C O N C R E T E   &   R O A D   M A T E R I A L S

T E S T I N G   L A B O R A T O R Y

| Subject Code CE / 4 / S4 / CRTL | Course offered in Part - II Second Semester | Duration 17 weeks | 4 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |

E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout the Second Year First Semester. Distribution of marks: Performance of Job – 35, Notebook – 15.

- External Assessment of 50 marks shall be held at the end of the Second Year First Semester on the entire syllabus. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: On spot job – 25, Viva-voce – 25.

D E T A I L   C O U R S E   C O N T E N T

- Testing of Road Materials *

  - Standard penetration test for bitumen.

  - Test for softening point of bitumen by ring & ball apparatus.

  - Test for flush point of bitumen by Pensky-Mertens apparatus.

  - Determination of crushing value of stone aggregate.

  - Determination of hardness property of stone aggregate by Los-Angles Abrasion Test/Attrition # ‘D’ -----test .

  - Determination of impact value of stone.

  - Determination of Flakiness Index.

- Concrete *

  - Determination of slump of different concrete mixture.

  - Determination of compaction factor of concrete.

  - Compressive strength by cube/cylinder.

  - Non-destructive testing by Rebound Hammer / Pulse Velocity.

  - Mix-design.

* At least six tests are to be performed taking two from each module.

_______

S E S S I O N A L   C O U R S E   O F F E R E D   I N

B O T H   S E M E S T E R S   O F   P A R T  -  I I

C I V I L   E N G I N E E R I N G   L A B O R A T O R Y - I

| Subject Code CE / 3 & 4 / S4 / CEL1 | Course Offered in Part – II | Full Marks 200 |
| --- | --- | --- |

C O U R S E   &   E X A M I N A T I O N   S C H E D U L E

| NAME OF THE COURSES | COURSES OFFERED IN | MARKS ALLOTTED |
| --- | --- | --- |
| Civil Engineering Lab – I (Group – A) | Part – II First Semester | Continuous internal assessment of 100 marks is to be carried out by the teachers throughout the two semesters where marks allotted for assessment of sessional work undertaken in each semester is 50. Distribution of marks for each semester: Performance of Job – 35, Notebook – 15. External assessment of 100 marks shall be held at the end of the Part – II Second Semester on the entire syllabus of “Civil Engineering Lab - I (Groups – A & B)”. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: On Spot Job – 50, Viva-Voce – 50. |
| Civil Engineering Lab - I (Group – B) | Part – II Second Semester |  |

C I V I L   E N G I N E E R I N G   L A B  –  I   ( G R O U P  –  A )

| Course offered in Part - II First Semester | Course duration 17 weeks |
| --- | --- |
| CONTACT PERIODS 60 @ 4 sessional contact periods per week for 15 weeks | INTERNAL ASSESSMENT 8 periods | TOTAL 68 periods |

D E T A I L   C O U R S E   C O N T E N T

- Materials Testing Laboratory *

  - Test on bricks: size, shape, colour, hardness, density, percentage water absorption, efflorescence and compressive strength.

  - Sieve analysis for coarse & fine aggregate.

  - Test for normal consistency and initial setting time of cement.

  - Test for compressive strength of cement sand mortar.

  - Determination of unit weight, bulking factor and percentage void in sand.

  - Fineness and soundness of cement.

  - Brick bonding: English bond – Pillars, corner wall, tee-junction & simple Flemish bond.

* At least 6 laboratory jobs are to be performed in this semester.

C I V I L   E N G I N E E R I N G   L A B  –  I   ( G R O U P  –  B )

| Course offered in Part – II Second Semester | Course duration 17 weeks |
| --- | --- |
| CONTACT PERIODS 90 @ 6 sessional contact periods per week for 15 weeks | INTERNAL ASSESSMENT 12 periods | TOTAL 102 periods |

D E T A I L   C O U R S E   C O N T E N T

- Applied Mechanics Laboratory **

    - To determine the coefficient of friction between rough surfaces.

    - Hardness test on M.S. bar / M.S. plate by Rockwell / Brinell hardness testing machine.

    - Tension test on M.S. bar / high strength deform bar.

- Hydraulics Laboratory **

      - To measure pressure of liquid by simple U-tube, manometer and differential manometer.

      - To determine the hydraulics coefficient of orifice.

      - To determine the coefficient of discharge through V-notch / rectangular notch.

      - To determine the frictional coefficient of circular G.I. pipes.

      - To determine the Reynold’s number / To verify Bernoulli’s theorem.

** At least four jobs are to be performed in this semester, taking two from each module.

_______

C I V I L   E N G I N E E R I N G   D R A W I N G - 1 (GR.  A & B) (EXAMINATION)

| Course offered in Part – II Second Semester | Course Duration 17 weeks | 4 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- |

C O U R S E   &   E X A M I N A T I O N   S C H E D U L E

| SUBJECT CODE | NAME OF THE COURSES | MARKS ALLOTTED |
| --- | --- | --- |
| CE / 3 & 4 / S4 / TCD1 | Civil Engineering Drawing – I (Gr. A & B) | A four hour examination of 100 marks will be held during the Part – II second semester examination on the Gr. (A & B) entire syllabus. |

###### MODULAR DIVISION

| SHEET NO. | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
| 1 | DOOR & WINDOWS | 15 |
| 2 | SEPTIC TANKS & OTHERS | 15 |
| 3 | STEEL CONNECTIONS | 15 |
| 4 | SLOPED ROOF USING STEEL TRUSSES | 15 |
| CONTACT PERIODS: 60 | INTERNAL ASSESSMENT: 8 | TOTAL PERIODS: 68 |

##### D E T A I L   C O U R S E   C O N T E N T

Sheet – 1 	Doors & Windows								    	15

- Ledged, braced and battened windows/door.

- 1/3rd panelled & 2/3rd panelled or glazed window.

- Panelled (full) door.

- 1/3rd glazed and 2/3rd Venetian (fixed) window.

- Fully glazed window.

Sheet – 2	Septic tank									    	15

Details of septic tank showing longitudinal sectional elevation & plan passing through double storied W.C. & bath block (showing details of bathroom fittings & anti-siphonage pipe), inspection pit and soak pit. Sectional plan & elevation of master trap.

Sheet – 3 	Steel connections								    15

- Plan elevation and side view of stanchion connected with base plate in concrete foundation. (Riveted connection).

- Connection of main beam with secondary beam (riveted connection).

- Connection of beam with column (riveted connection).

- Equal beam & column splicing (riveted connection).

- Column bracket connection (riveted connection).

Sheet – 4 	Sloped roof using steel trusses							15

  - Details of a fink truss having 9-12m span with welded joints and details of column connection (fillet  weld).

4.2   Do with riveted connection.

D E T A I L E D   S Y L L A B I   O F   T H E

D I F F E R E N T   C O U R S E S   O F F E R E D   I N

P A R T  –  I I I   F I R S T   &   S E C O N D   S E M E S T E R S

I N D U S T R I A L   M A N A G E M E N T

| Subject Code CE / 5 / T1 / IMNT | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

O B J E C T I V E

This subject provides the students of polytechnics with an exposure to the art and science of management principles, functions, techniques and skills that are essential for maximising attainment of the organisational goals with the available manpower and resources. Upon successful completion of this subject, the students shall be equipped with the fundamental knowledge of management which should make them confident in facing the challenges of their responsibilities in the different organisational scenarios.

M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| GROUP | MODULE | TOPIC | CONTACT PERIODS |
| --- | --- | --- | --- |
| A |  | INTRODUCTION TO MANAGEMENT SCIENCE | 5 |
|  |  | ORGANISATIONAL BEHAVIOUR | 6 |
|  |  | HUMAN RESOURCES MANAGEMENT | 8 |
| B |  | PRODUCTION MANAGEMENT | 9 |
|  |  | MATERIALS MANAGEMENT | 3 |
|  |  | FINANCIAL MANAGEMENT | 3 |
| C |  | MARKETING & SALES MANAGEMENT | 5 |
|  |  | QUANTITATIVE TECHNIQUES | 6 |
| CONTACT PERIODS: 45 | INTERNAL ASSESSMENT: 6 | TOTAL PERIODS: 51 |

E X A M I N A T I O N   S C H E M E

| GROUP | MODULE | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3 | 14 | ANY 25 | ONE | 25 x 1 = 25 | FOUR | ANY FIVE, TAKING AT LEAST ONE FROM EACH GROUP | 10 | 5 X 10 = 50 |
| B | 4, 5, 6 | 11 |  |  |  | THREE |  |  |  |
| C | 7, 8 | 8 |  |  |  | TWO |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

G R O U P  -  A 					           				   19 periods

- Introduction to Management Science 						          5

Principles & functions of management — Contributions of F.W. Taylor, Henry Fayol, Max Weber and Elton Mayo & Roethlisburger in development of the theories of management science.

- Organisational Behaviour 								         6

Objectives — Brief introduction to: Motivation & Morale – Perception – Leadership & Leadership Styles – Communication – Team Building – Work Culture.

- Human Resources Management 							         8

Scope & Functions – Human Resources Planning – Selection & Recruitment – Training & Development – Performance Appraisal – Industrial Safety.

G R O U P  -  B 										  15 periods

- Production Management 								         9

Production Planning: Routing – Loading – Scheduling — Production Control: Expediting – Dispatching — Materials Handling — Work Study — Productivity — Quality Management: Tools & Techniques – Quality Management System.

- Materials Management 								         3

Objectives & functions: Purchase function – Stores function — Inventory Management: ABC, VED analyses.

- Financial Management 								         3

Financial Ratios — Elements of Costing — Auditing

G R O U P  -  C 										  11 periods

- Marketing & Sales Management 							         5

Objectives & Functions — Marketing of products & Services — Advertising & Sales Promotion — Consumer Behaviour

- Quantitative techniques 								         6

Linear programming (graphical method only) — Network Analysis: PERT – CPM

R E F E R E N C E   B O O K S

- Essentials of Management / Kontz / McGraw-Hill of India

- Organization & Behaviour / M. Banerjee / Allied Publishers

- Human Behaviour at Work: Organizational Behaviour / Keith Davis & Newstrom / McGraw-Hill of India

- Human Resources Management / Mirza Saiyatain / Tata McGraw-Hill

- Production Management & Control / Nikhil Barat / U.N. Dhar & Co.

- Production Management / Keith Lockyer / ELBS

- Marketing Management / Philip Kolter / Prentice Hall of India

- Lectures on Management Accounting / Dr. B.K. Basu / Basusri Bookstall, Kolkata

- An Insight into Auditing: A Multi-dimensional Approach / Dr. B.K. Basu / Basusri Bookstall, Kolkata

- Business Strategies, Financial Management & Management Accounting / S.K. Poddar / The Association of Engineers (India)

_______

S O I L   M E C H A N I C S

| Subject Code CE / 5 / T2 / SMCH | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

# M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 2 |
| 2 | CLASSIFICATION OF SOILS | 6 |
| 3 | INDEX PROPERTIES OF SOILS | 9 |
| 4 | CONSISTENCY OF SOIL | 2 |
| 5 | PERMEABILITY OF SOIL | 4 |
| 6 | SEEPAGE FLOW | 2 |
| 7 | COMPACTION | 5 |
| 8 | CONSOLIDATION | 6 |
| 9 | SHEAR STRENGTH | 9 |
| TOTAL: | 45 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3 | 13 | ANY 25 | ONE | 1 x 25 = 25 | THREE | FIVE, TAKING AT LEAST ONE FROM EACH GROUP | TEN | 10 x 5 = 50 |
| B | 4, 5, 6 | 7 |  |  |  | TWO |  |  |  |
| C | 7, 8, 9 | 15 |  |  |  | FOUR |  |  |  |

### DETAIL COURSE CONTENTS

1.0	Introduction										      2

  - Definition of soil, soil mechanics, origin and formation of soils and soil categories.

  - Principles of mechanics applied to soils, importance of soil mechanics.

  - Application of properties of soils.

2.0	Classification of soils									      6

  - Engineering classification of soil-particle size classification, MIT &  BIS classification, textural classification chart.

  - Measurement of particle size distribution-sieve analysis, pipette method

  - Particle size distribution curve-characteristics of the curve, uniformity co efficient, co efficient of curvature.

3.0	Index properties of soils									      9

  - Phase diagram for dry, moist and saturated soil.

  - Definitions- void ratio, porosity, water content, degree of saturation, unit weight, specific gravity, density – bulk density, dry density, submerged density, air content, percentage of air voids.

  - Inter relation between above properties:-

- Porosity and void ratio.

- Void ratio, water content, degree of saturation and specific gravity.

- Unit weight, void ratio, specific gravity, degree of saturation, and unit weight of water.

- Dry unit weight, bulk unit weight and moisture content.

  - Numerical problems on the above properties.

4.0	Consistency of soil									      2

4.1	Moisture content and volume relationship.

4.2	Definition of Atlerborg limits, plasticity index, liquidity index, shrinkage ratio, flow index, toughness index.

4.3	Soil classification according to A. Casagradede's plasticity chart.

5.0	Permeability of soil									      4

51	Definition of permeability Darcy's law, co efficient of permeability factors affecting permeability.

  - Determination of co efficient of permeability by constant head variable head permeameters.

6.0	Seepage flow										      2

  - Concept of seepage flow, flow nets, flow lines, equipotential lines field, flow channel, use of flow net.

  - Critical hydraulic gradient, quick sand condition and seepage forces.

7.0	Compaction										      5

  - Definition, determination of optimum moisture content and dry density by proctor's compaction test, importance of compaction and factors influencing compaction.

  - Field compaction method, field density determination by core cutter method, degree of compaction control.

8.0	Consolidation										      6

  - Definition of consolidation difference between compaction and consolidation.

  - Principle of consolidation spring analogy, one dimensional  consolidation test, time vs. settlement curve; void ratio vs. log p curve; compression index; co efficient of compressibility; coefficient of consolidation.

  - Utility of consolidation data for calculation of settlement.

9.0	Shear strength									                    9

  - Introduction, principal planes and stresses, Mohr's stress circle when an element is subjected to normal stress only.

  - Definition of shear strength and shear parameters.

  - Mohr's Coulomb failure theory, relation between major and minor principle stresses, significance of cand ( Coulomb's equation.

  - Field measurement of shear strength.

_________

S T R U C T U R A L   D E S I G N   &   D E T A I L I N G  -  I

| Subject Code CE / 5 / T3 / SDD1 | Course offered in Part – III First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

# M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 2 |
| 2 | LOADS & FORCES | 2 |
| 3 | SAFETY & SERVICEABILITY | 2 |
| 4 | CHARACTERISTIC, DESIGN VALUES & PARTIAL SAFETY FACTORS | 2 |
| 5 | DESIGN OF RECTANGULAR BEAM IN FLEXURE | 12 |
| 6 | ANALYSIS & DESIGN OF FLANGED BEAM SECTIONS IN FLEXURE | 4 |
| 7 | DESIGN OF BEAM FOR SHEAR | 4 |
| 8 | DESIGN OF BEAM FOR BOND | 2 |
| 9 | DESIGN OF LINTEL | 2 |
| 10 | DESIGN OF SLAB | 8 |
| 11 | DESIGN OF TWO FLIGHT STAIR CASES | 4 |
| 12 | DESIGN OF RCC COLUMN | 6 |
| 13 | DESIGN OF COLUMN FOUNDATION | 6 |
| 14 | PRESTRESSED CONCRETE | 4 |
| TOTAL: | 60 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4, 14 | 7 | ANY FIVE | ONE | 1 x 5 = 5 | — | — | — | — |
| B | 5, 6, 7, 8, 9 | 7 | ANY TEN | TWO | 2 x 10 = 20 | FOUR | FIVE, TAKING AT LEAST TWO FROM EACH OF THE GROUPS ‘B’ & ‘C’ | TEN | 10 x 5 = 50 |
| C | 10, 11, 12, 13 | 8 |  |  |  | FIVE |  |  |  |

### D E T A I L   C O U R S E   C O N T E N T

- Introduction									                    2

  - Aim of design

  - Methods of design-working stress method, ultimate lead method, limit state method.

  - Durability, workmanship, materials.

  - Concept of three dimensional structure-determinate type and indeterminate type.

- Loads & Forces										      2

  - General concept of loads on structure

  - Introduction to IS: 875 (Part-I to Part-V),

  - Dead load.

  - Imposed loads, wind load & snow loads

  - Earthquake forces. – BIS 1893

  - Shrinkage. Creep and Temperature effect.

  - Other forces and effects.

  - Combination of loads

  - Design load

STRUCTURAL DESIGN BY WORKING STRESS & LIMIT STATE METHODS

- Safety & serviceability								      2

    - General

    - Limit state of collapse

    - Limit states of serviceability

    - Offer limit states

- Characteristics and design values and partial safety factors			      2

    - Characteristic strength of materials

    - Characteristic loads

    - Design values

    - Partial safety factors

- Design of rectangular beam in flexure- by Working Stress & Limit State Methods		    12

    - Introduction

    - Behaviour of a beam under load

    - Assumptions

    - Analysis and design of singly reinforced rectangular sections – balanced section, under reinforced section, over reinforced section- solution of numerical problems.

    - Doubly reinforced rectangular section – solution of numerical problems.

- Analysis & design of flanged beam in flexure	      				     4

    - General

    - Effective width of flange

    - Design of T-beam with solutions of problems.

- Design of beam for shear								      4

    - Introduction.

    - Concept of shear stress in beam

    - Effect of shear stress.

    - Design of shear reinforcement –vertical stirrups only.

    - Requirement of shear reinforcement

    - Solutions of problems.

- Design for bond									      2

    - Introduction

    - Average bond and local bond stress.

    - Concept & design for development length of reinforcing steel.

    - Curtailment of reinforcement – extension beyond the theoretical cut off point, provision for maintaining the shear capacity at cut off region, provision for curtailment of reinforcement for positive moments, provision for curtailment of reinforcement for negative moment, splicing, lapping & anchoring reinforcement bars- solution of numerical problems.

- Design of lintel									      2

    - Design of lintel for flexure under triangular load only for brick  work above it and for it self weight – typical problem solution.

    - Design of shear reinforcement for lintel – typical problem solution.

- Design of slab-by Limit State Methods					      8

    - Introduction

    - Design of one way slab – simply supported on either ends and cantilever for flexure with numerical solution of each type.

    - Design of two way slab (a) with the edges not held down, (b) with the edges held down by using moments coefficient as per table 26 & 27 of IS: 456-2000 with solution of problems for each type.

- Design of two flight stair cases							      4

    - Introduction

    - Simply supported on edges at landing levels with solution of problem

    - Supported on landing panels which spans transversely to the flight with solution of problems.

- Design of R.C.C. column – by Limit State Methods			      4

    - Introduction

    - Design of square. Rectangular and circular sections with concentric axial load.

- Design of column foundation – by Limit State Methods			      6

    - Introduction

    - Design of isolated column foundation under axial load resting directly on bearing soil, for uniform thickness of the footing slab, with solution.

- Prestressed concrete									      4

- Introduction to prestressed concrete.

_______

T R A N S P O R T A T I O N   E N G I N E E R I N G  -  I

| Subject Code CE / 5 / T4 / TRE1 | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1,2,3 | 10 | 10 | 1 | 10 | 4 | 2 | 14 | 28 |
| B | 4,5,6 | 10 | 10 | 1 | 10 | 2 | 1 | 14 | 14 |
| C | 7,8,9 | 10 | 10 | 1 | 10 | 4 | 2 | 14 | 28 |

# Allotment of Class Hours

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 2 |
| 2 | ROAD GEOMETRIC | 15 |
| 3 | ALIGNMENT & SURVEYS OF ROADS | 3 |
| 4 | EARTH WORK | 3 |
| 5 | HILL ROADS | 3 |
| 6 | CITY ROADS | 5 |
| 7 | ROAD AGGREGATES | 2 |
| 8 | HIGHWAY CONSTRUCTION | 8 |
| 9 | CULVERTS AND BRIDGES | 4 |
| TOTAL: | 45 |

### Course Contents

1.0	Introduction										      2

  - History of roads & road development in India

  - Classification of rural (non-urban) roads as per IRC

  - Classification of urban roads as per IRC

  - Terrain classification as per IRC

  - IRC specification for roads.

2.0	Road geometric										    15

  - Road cross sections in embankment and in cutting.

  - Cross sectional elements – right-of-way, boundary line, building line, control line, carriage way, shoulder, berm.

  - Recommended land width for different classes of roads.

  - Recommended standards for building lines and control lines.

  - Recommended speeds.

  - Width of roadway for single lane and two lane roads in – (a) Plain and rolling terrain, and (b) mountainous & Steep terrain.

  - Width of carriage way.

  - Pavement camber or cross fall (objects and methods), recommended values of camber for different types of roads.

  - Gradient, classification of gradients, gradients for roads in different terrain, grade compensation at curves in hill roads.

  - Super elevation – objects, derivation of formula and related problems.

  - Transition curve, objects of providing transition curves, types of curves used, factors affecting length of transition curve.

  - Widening of pavement on curve – its necessity and method of providing it.

  - Vertical curve-summit curve and valley curve.

  - Sight distance, perception time, brake reaction time, lag time, lag distance, braking distance. Types of sight distance – stopping site distance, intermediate sight distance and overtaking sight distance.

3.0	Alignment and surveys of roads								      3

  - Highway surveys – different types, objects, instruments used.

  - Road alignment, road location, controlling points, ribbon development and its disadvantages, requirements of an ideal road alignment.

  - Drawing and report.

4.0	Earth work										      3

  - Terms related to earth work – cutting filling, angle of repose, allowance for settlement, profile, benching, witness, trimming and dressing, lead & lift, tarfing, borrow pit, spoil bank.

  - Procedure for doing earth work in new embankment and cutting.

5.0	Hill roads										      3

  - Hill road alignment

  - Sections of hill roads

  - Terms related to hill roads – retaining walls, breast wall, weep holes, catch water drain, parapet wall, hairpin bend, cliff gallery.

6.0	City roads										      6

  - Terms related to city roads – footpath, kerb and channel, pedestrian crossing, Guide Island, refuse island, traffic lane.

  - Traffic rotary – advantages, disadvantages and limitations.

  - Road junction – types.

  - Grade separator – advantages and disadvantages.

  - Medians – advantages, disadvantages and minimum width necessary

  - Traffic signs – classification, objects and types.

7.0	Road aggregates									      2

  - Types of road aggregates

  - Requirements of good road aggregates

  - Testing of road aggregates (only the names of tests with objective)

8.0	Highway constructions									      8

  - Road structure – cross sections, component parts and their functions.

  - Soil stabilisation – definition and methods

  - Earth road, gravel road & soil stabilised roads – short notes.

  - Water bound macadam roads – definition, materials, procedure of construction advantages & disadvantages, quality estimate.

  - Bituminous materials – (i) bitumen, asphalt & tar, (ii) sources of bitumen, (iii) types of bitumen – straight run, oxidised, cut back, emulsion & primer, (iv) Types of tar.

  - Bituminous road construction – types – (i) surface dressing (single coat & two coats) – functions, materials, construction, quantities of materials, (ii) grouting (semi grout & full grout) – functions, materials, construction and quantities of materials, (iii) premix type (premix chipping carpet, premix macadam and premix concrete) -–function, materials, construction and quantities of materials, related machineries and plants.

  - Pavement distress – nature, causes & remedies.

  - Cement concrete roads – (i) advantages & disadvantages, (ii) comparison between bituminous and cement concrete pavements, (iii) pavements joints – necessity, types, joint sealer, joint filler, dowel bar, tie bar, mud pumping.

9.0	Culverts & bridges									      4

  - Difference between culverts and bridges

  - Component parts of a bridge – substructure and superstructure.

  - IRC specification for bridges.

  - Selection of site for bridges and culverts.

__________

W A T E R   &   W A S T E   W A T E R   E N G I N E E R I N G  -  I I

| Subject Code CE / 5 / T5 / WWE2 | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

# M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 2 |
| 2 | SEWERS AND SEWER APPURTENANCES | 7 |
| 3 | BUILDING DRAINAGE | 8 |
| 4 | QUANTITY OF WASTE WATER | 4 |
| 5 | WASTE WATER CHARACTERISATION | 8 |
| 6 | WASTEWATER TREATMENT | 10 |
| 7 | RURAL SANITATION | 6 |
| TOTAL: | 45 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4, 5 | 15 | ANY 12 | ONE | 1 x 12 = 12 |  | FIVE, TAKING AT LEAST TWO FROM EACH OF THE GROUPS ‘A’ & ‘B’ | TEN | 10 x 5 = 50 |
| B | 6, 7 | 15 | ANY 13 | ONE | 1 x 13 = 13 | EIGHT |  |  |  |

- Introduction

Wastewater classification, necessity of systematic collection and disposal of wastewater, separate and combined system of sewerage.

- Sewers and sewer appurtenances

Types of sewer – stoneware, cast iron, concrete, masonry sewers – suitability, sizes and standard joints. Appurtenances – manhole, lamp hole, drop manhole, street inlets, catch basin, ventilating shaft – their location, functions and constructions, wastewater pumps and pumping stations. Sewer laying – setting out alignment, excavation, checking gradient, preparation of bed; handling, lowering, laying, jointing and testing of sewers and back filling, storm and sanitary sewers with appurtenances including joints.

- Building drainage

Drainage system – single an double stack, use of traps in sanitary appliances; functions of yard gully, intercepting traps, ventilation andantisyphonage pipes, urinals, water closet, flushing cisterns, sink and wash basins. General layout of sanitary and house drainage for a building as per IS code, municipal rules regulating house sewer connections with street main sewer.

- Quantity of wastewater

Estimation of sanitary wastewater, variability of flow, estimation of storm water-rainfall intensity-frequency-duration curve, time of concentration, run off coefficient, design of sewers.

- Wastewater characterisation

Physical, chemical and biological characteristics of wastewater, analysis of wastewater for solids, colour, odour, pH, acidity, alkalinity, biochemical oxygen demand (BOD), chemical oxygen demand (COD), nitrogen, phosphorous, chloride, sulphate, oil and grease, etc.

- Wastewater treatment

Treatment objectives, primary treatment – screen, commutator, grit chamber, skimming tank, primary clarifier, secondary treatment – biological treatment, principles, activated sludge process (including aeration tank and air diffusers), trickling filter, oxidation ditch, aerated lagoon, stabilization pond – aerobic, anaerobic and facultative – mechanism and treatment, secondary clarifier, sludge digestion tank, sludge drying bed, septic tank – description, actions and design including soak pit and soak trench; waste farming.

- Rural sanitation

Disposal of night soil – service latrine; earth closet dug well, borehole latrine, cesspool – constructional details, pour flush two pit latrine.

_______

F I E L D   S U R V E Y   P R A C T I C E  -  I I

| Subject Code CE / 5 / S2 / SFS2 | Course offered in Part – III Second Semester | Course Duration 17 weeks | 4 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |

ALLOTMENT OF CLASS HOURS

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | ROAD PROJECT | 20 |
| 2 | CONTOUR SURVEY | 8 |
| 3 | THEODOLITE TRAVERSE SURVEY | 20 |
| 4 | SETTING OUT OF CURVE BY THEODOLITE (ONE & TWO THEODOLITE) | 8 |
| 5 | LAYOUT OF BUILDING | 4 |
| TOTAL: | 60 |

* In Field Survey practical the Institute can set up Field work in normal class routine or 2 weeks intensive Field Survey Practical within Campus or in near by Vicinity.

E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout Part – III First Semester. Distribution of marks: Performance of Job – 35, Notebook – 15.

- External Assessment of 50 marks shall be held at the end of Part – III First Semester on the entire syllabus. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: On spot job – 25, Viva-voce – 25.

D E T A I L   C O U R S E   C O N T E N T

Plate-1	Road Project – One plate including longitudinal section and cross section with side slope.      20

Plate-2	Direct and indirect contouring in two separate sheets including sectional views.		       8

Plate-3	Theodolite Traversing including detailing by plane table.					     20

Plate-4	Setting out curve in field by linear (chain tape method) & angular (instrument methods).	       8

Plate-5	Layout of residential building.								      4

_______

F O U N D A T I O N   E N G I N E E R I N G

| Subject Code CE / 6 / T1 / FDNE | Course offered in Part – III First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

EXAMINATION SCHEME

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | To be set | To be answered | Marks per question | Total Marks | To be set | To be answered | Marks per question | Total Marks |
| A | 1,2,3 | 6 | 6 | 1 | 6 | 2 | 1 | 14 | 14 |
| B | 4,5,6 | 14 | 14 | 1 | 14 | 4 | 2 | 14 | 28 |
| C | 7,8,9 | 4 | 4 | 1 | 4 | 2 | 1 | 14 | 14 |
| D | 10 | 6 | 6 | 1 | 6 | 2 | 1 | 14 | 14 |
| Total of Objective: | 30 | Total of Subjective: | 70 |

# Allotment of Class Hours

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 2 |
| 2 | GENERAL CONSIDERATIONS FOR DESIGN OF FOUNDATIONS – AS PER BIS:1904 | 4 |
| 3 | TYPES OF FOUNDATION | 8 |
| 4 | BEARING CAPACITY OF SOILS | 10 |
| 5 | SETTLEMENT OF FOUNDATION | 8 |
| 6 | PILE FOUNDATION | 6 |
| 7 | SOIL STABILISATION | 6 |
| 8 | SOIL EXPLORATION | 6 |
| 9 | STRESS DISTRIBUTION IN SOIL | 2 |
| 10 | EARTH PRESSURE | 8 |
| TOTAL: | 60 |

### COURSE CONTENTS

1.0	Introduction										      2

  - Definition of foundation, functions of foundation, requisites of a good foundation.

2.0	General considerations for design of foundations					      4

  - Loads on foundation, stability against siding, overturning.

  - Depth of foundation, foundation on made up ground.

  - Checking for failure, safety against shear failure.

3.0	Types of foundation									      8

  - Shallow and deep foundations and their differences.

  - Types of shallow foundation (names only), their specific uses.

  - Types of deep foundation (names only), their specific uses.

  - Selection of foundation type.

  - Foundation in shrinkable soils.

4.0	Bearing capacity of soils									    10

  - Introduction, definition of ultimate bearing capacity, safe bearing capacity, allowable bearing capacity, gross and net bearing capacity, factor affecting bearing capacity.

  - Terzaghi's bearing capacity theory, assumptions of Terzaghi's theory, general and local shear failure, bearing capacity formula for – isolated square footing, isolated circular footing, continuous strip footing for cohesive, cohesion-less and c-( soi in case of general shear failure, modification required for local shear failure –solution of problems.

  - Determination of bearing capacity by plate load test, limitations of plate load test ultimate bearing capacity from standard penetration test results.

  - Methods to improve the bearing capacity of soil.

5.0	Settlement of foundation									      8

  - Introduction, primary causes of settlement, permissible settlement and differential settlement as per IS:1904.

  - Computation of consolidation settlement – (i) when initial void ratio, final void ratio & thickness of the consolidating layer are known, (ii) when increment of pressure, coefficient of volume compressibility & thickness of the consolidating layer are known, (iii) when initial void ratio, initial pressure, increment of pressure, compression index and thickness of  consolidating layer are known – simple numerical problems with solution.

6.0	Pile foundation										      6

  - Definition of pile foundation, places of application, classification of piles based on functions and materials.

  - Formula related to pile foundations – static formula, dynamic-engineering news formula and Hiley's formula, - solution of simple problems.

7.0	Soil stabilisation										      6

  - General principles of soil stabilisation.

  - Different types of soil stabilisation – mechanical stabilisation, water reluctant chemicals, cement stabilisation, line stabilisation, bitumen stabilisation, stabilisation by grounding.

8.0	Soil exploration										      6

  - Preliminary work, site reconnaissance, trial pits, boring.

  - Excavation and boring methods of subsurface exploration.

  - Types of soil samples.

  - Procuring and handling of disturbed and undisturbed samples.

  - Presentation of soil investigation results.

9.0	Stress distribution in soils								      2

  - Introduction

  - Approximate methods of determining vertical stress at a depth below the bottom of foundation.

10.0	Earth pressure										      8

  - Definition of active and passive earth pressure, coefficient of active and passive earth pressure.

  - Rankine's earth pressure theory for cohesive and cohesion-less soil with back fill horizontal at top of the wall, pressure intensity diagrams; resultant thrust, solution of simple problems.

___________

S T R U C T U R A L   D E S I G N   &   D E T A I L I N G  -  I I

| Subject Code CE / 5 / T2 / SDD2 | Course offered in Part – III First Semester | Course Duration 17 weeks | 4 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

# M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION TO IS: 800 | 1 |
| 2 | INTRODUCTION TO SP:6(I) | 1 |
| 3 | RIVETTED CONNECTION | 10 |
| 4 | WELDED CONNECTION | 8 |
| 5 | DESIGN OF ROOF TRUSS | 12 |
| 6 | DESIGN OF STEEL BEAMS | 12 |
| 7 | DESIGN OF STEEL COLUMNS | 5 |
| 8 | DESIGN OF STEEL COLUMN BASE | 5 |
| 9 | PERMISSIBLE STRESS IN VARIOUS SPECIES OF TIMBERS | 1 |
| 10 | DESIGN OF TIMBER BEAMS AND POSTS USING IS CODE | 5 |
| TOTAL: | 60 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3, 4, 5, 6, 7, 8 | 22 | ANY 25 | ONE | 1 x 25 = 25 | SEVEN | FIVE, TAKING AT LEAST ONE FROM EACH GROUP | TEN | 10 x 5 = 50 |
| B | 9, 10 | 8 |  |  |  | TWO |  |  |  |

### D E T A I L   C O U R S E   C O N T E N T

G R O U P  -  A 		D e s i g n   o f   S t e e l   S t r u c t u r e 			54 periods

- Introduction to IS:800 									1

Permissible stresses in flexure shear, direct tension, direct compression, elastic stress. General conception on load as per IS:875(Part-I to Part-V).

- Introduction to SP:6(I) 									1

Details of structural steel section with their properties; use of built up section from the given tables in SP:6(I).

- Riveted connection 									10

Different types of riveted joint, failure of riveted joints, design of riveted joint for axial tension, Eccentric riveted connection – application to bracket connected to steel columns with moment in the plane of river and in perpendicular plane, permissible stress in rivet – shearing and bearing.

- Welded connection									8

Types of weld and their symbols, permissible stresses, fillet weld – throat thickness, size of weld, length of weld. Design of simple lap and butt joints subjected to axial load. Design of eccentric welded connection with moment in the plane of weld and in perpendicular plane.

- Design of roof truss 									12

Analysis and design of simple steel roof truss for dead load live load and wind load with combinations.

- Design of steel beams 									12

Design of rolled steel beams in flexure and shear for a given load with the compression flange fully restrained against lateral bucking and without any restraining; check for deflection, concept of plated beam and plate girder.

- Design of steel columns 									5

Slenderness ratio, effective length, permissible stress, design of axially loaded columns using standard I. Section with or without cover plates. Design of column section for axial load and uniaxial bending with compression flange partially of fully restrained against lateral buckling.

- Design Steel column base 								5

Design of axially loaded column base (i) slab base, (ii) gusseted base design of steel column base subjected to axial load and uniaxial bending all connection shall be welded, design of foundation anchor bolt.

G R O U P  -  B 		D e s i g n   o f   T i m b e r   S t r u c t u r e 			6 periods

- Permissible stress in various species of timber.					      	      1

- Design of timber beams and posts using IS: Code.					      5

_______

T R A N S P O R T A T I O N   E N G I N E E R I N G  -  I I

| Subject Code CE / 5 / T3 / TRE2 | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| MODULE | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 1 |
| 2 | PROJECTS AND PROFILES | 4 |
| 3 | PERMANENT WAY | 15 |
| 4 | TRACK GEOMETRIC | 15 |
| 5 | POINTS AND CROSSINGS | 12 |
| 6 | STATIONS AND YARDS | 8 |
| 7 | PERMANENT WAY MAINTENANCE | 5 |
| TOTAL: | 60 |

E X A M I N A T I O N   S C H E M E

| GROUP | TOPICS | OBJECTIVE QUESTIONS | SUBJECTIVE QUESTIONS |
| --- | --- | --- | --- |
|  |  | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS | TO BE SET | TO BE ANSWERED | MARKS PER QUESTION | TOTAL MARKS |
| A | 1, 2, 3 | 11 | ANY 25 | ONE | 1 x 25 = 25 | THREE | FIVE, TAKING AT LEAST ONE FROM EACH GROUP | TEN | 10 x 5 = 50 |
| B | 4, 5 | 15 |  |  |  | FOUR |  |  |  |
| C | 6, 7 | 8 |  |  |  | TWO |  |  |  |

D E T A I L   C O U R S E   C O N T E N T

1.0	Introduction											1

Brief history of Indian Railways

2.0	Projects & profiles 									4

  - Survey works for a new line

  - Choice of alignment, requirements of a good alignment.

  - Cutting and embankments, cut & cover.

  - Tunnels – section in rock & clay.

3.0	Permanent way										    15

  - Definition

  - Component parts of a permanent way

  - Requirements of an ideal permanent way.

  - Gauge-types of gauges in India, factors affecting adoption of a particular gauge, standard gauge, standard dimensions.

  - Rails- function of rails, types of rails, weight of rails, length of rails; rail joints – requirements of a good rail joint, types of rail joint; expansion of rails, rail supports, impact effect and anti impact plates, cutting of rails; coming of wheels and its advantages; tilting of rails and its advantages; roaring of rails; creep of rails & causes of creep, effect of creep, prevention of creep; wear of rails – different types of rail wear, methods to reduce wear of rails; hogged rails – buckling of rails and welding of rails.

  - Sleepers – functions, requirements of good sleepers, types of sleepers, advantages and disadvantages of each type, sleeper density.

  - Ballast – functions of ballast, characteristics of good ballast, types of ballast, advantages and disadvantages of each type, size and section of ballast, quantity of ballast.

  - Fixtures and fastening – functions of fixtures and fastenings, types of fixtures and fastenings, fish plate, bearing plate, spikes, bolts, keys anti creepers.

4.0	Track geometrics									    15

  - Cross section of single line and double line B.G. track in embankment and in cutting.

  - Permanent land or right of way, formation, formation width, side slopes, side drains.

  - Gradient, purpose of providing gradient, factors affecting selection of gradient, types of gradient, grade compensation on curves.

  - Curves- horizontal, vertical and transition, layout of curves, curve resistance, effect of curves on tyres and rails, realignment of curves by string line method.

  - Super elevation – objects of providing super elevation, relation of super elevation with gauge, speed and radius of the curve; limits of super elevation, methods of providing super elevation.

  - Cant deficiencies, negative cant.

  - Winding of gauge on curves.

5.0	Points & crossings									    12

  - Necessity of points and crossings.

  - Important technical terms in points and crossings.

  - Turnout – sketch, component parts and functions.

  - Points of switches – components parts, types.

  - Crossings- requirements of an ideal crossings and component parts of a crossing.

  - Track junctions – types of truck junctions – turnout, acute angle crossing, diamond crossings, square crossing, cross over, scissors cross over, triangle, level crossing.

6.0	Stations & yards										      8

  - Purpose, location, site, general equipment and layout in consideration of traffic.

  - Classification of stations, layout of a wayside station showing the location of necessary signals.

  - Railway yard – different types of yard and their functions.

  - Platform, engine shed, train examination pits, turn tables, water columns and tank houses- layout details with short description of each mentioning functions, necessity, etc.

7.0	Permanent way maintenance						              	      5

  - Duties of permanent way inspectors, maintenance gang and key men.

  - Life of permanent way materials and renewal, lifting and packing of rail and sleepers.

  - Storage and renewal of ballast.

_________

S E S S I O N A L   C O U R S E S   O F F E R E D   I N

B O T H   S E M E S T E R S   O F   P A R T  -  I I I

C I V I L   E N G I N E E R I N G   D R A W I N G – I I (Gr. A) Sessional

| Course offered in Part – III, First Semester | Course Duration 17 weeks | 6 sessional contact periods per week | Full Marks 50 |
| --- | --- | --- | --- |

C O U R S E   &   E X A M I N A T I O N   S C H E D U L E

| SUBJECT CODE | NAME OF THE COURSES | MARKS ALLOTTED |
| --- | --- | --- |
| CE / 5 & 6 / SCD2 | Civil Engineering Drawing (S) – II (Group – A) | Continuous Internal Assessment of 50 marks is to be carried out by the teachers in each of the Part – III in this Semester. External assessment of 100 marks shall be held at the end of the Part - III Second Semester on the entire syllabus of Civil Engineering Drawing – II. Distribution of marks: Drawing Sheets – 75, Viva-Voce – 25. |

M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| SHEET NO | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
|  | CIVIL ENGINEERING DRAWING – II (GROUP – A) | 90 |
| 1, 2 | TWO STORIED RESIDENTIAL BUILDING | 72 |
| 3 | PREPARING AN ELECTRICAL, PLUMBING & FURNITURE LAYOUT IN THE RESIDENTIAL BUILDING IN SHEET – II | 18 |

## D E T A I L   C O U R S E   C O N T E N T S

Sheet – 1 & 2	Two storied residential building							    72

Sheet – 1 	with load bearing wall

Sheet – 2	 with framed structure

Plans, elevation and sections through stair, W.C. & bath of two storied residential building showing plumbing layout. (Plans should include site plan, foundation layout plan, ground floor plan, first floor plan, roof plan. The Sheet-III should show the foundation plan, grid plan and 	sectional elevation of the framed structure only for one / two alignments through the W.C. & bath and stair case longitudinally or transversely, which ever is more important). Application of AutoCAD.

Sheet – 3 	Preparing an electrical, plumbing & furniture layout in the residential building in

Sheet – 1 & 2.	    									 18

_______

C I V I L   E N G I N E E R I N G   D R A W I N G – I I (Gr. A & B) Examination

| Course offered in Part – III, Second Semester | Course Duration 17 weeks | 6 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- |

C O U R S E   &   E X A M I N A T I O N   S C H E D U L E

| SUBJECT CODE | NAME OF THE COURSES | MARKS ALLOTTED |
| --- | --- | --- |
| CE / 5 & 6 / SCD2 | Civil Engineering Drawing – II (Group – B) | A four hour examination of 100 marks will be held during the part III second semester, examination on the group (A & B) entire syllabus. |

M O D U L A R   D I V I S I O N   O F   T H E   S Y L L A B U S

| SHEET NO | TOPIC | CONTACT PERIODS |
| --- | --- | --- |
|  | CIVIL ENGINEERING DRAWING – II (GROUP – B) | 90 |
| 1 | RCC DETAILS – I | 30 |
| 2 | RCC DETAILS – II | 30 |
| 3 | RCC DETAILS – III | 30 |

D E T A I L   C O U R S E   C O N T E N T

Sheet 1:	R.C.C. Details – I

  - Column with footing – Plan & Sectional elevation.

  - Lintel with chajja – sectional elevation.

  - A continuous beam over columns – half long section and two c/s – one near support and one near mid span.

  - One – way slab reinforcement plan and sectional elevation.

Sheet 2:	R.C.C. Details – II

  - Two – way slab reinforcement plan with corner reinforcement and sectional elevation.

  - Stair case (dog – legged) sectional plan, cross section of on one flight including landing.

Sheet 3:	R.C.C. Details – III

  - L/S & C/S views of water tank. (U/G)

  - Pile and pile cap (simple type/ inside R.C.C. bored pile)

  - L/S & C/S views of retaining wall (cantilever type only)

C I V I L   E N G I N E E R I N G   L A B O R A T O R Y  – I I

| Subject Code CE / 5 & 6 / S2 / CEL2 | Course offered in Part – III Second Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |

C O U R S E   &   E X A M I N A T I O N   S C H E D U L E

| NAME OF THE COURSES | COURSES OFFERED IN | MARKS ALLOTTED |
| --- | --- | --- |
| Civil Engineering Lab – II (Group – A) | Part – III First Semester | CONTINUOUS INTERNAL ASSESSMENT OF 100 MARKS is to be carried out by the teachers throughout the two semesters where marks allotted for assessment of sessional work undertaken in each semester is 50. DISTRIBUTION OF MARKS FOR EACH SEMESTER: PERFORMANCE OF JOB – 35, NOTEBOOK – 15. EXTERNAL ASSESSMENT OF 100 MARKS shall be held at the end of the part – iii second semester on the entire syllabus of “Civil Engineering Laboratory - II (Groups – A & B)”. One job per student from any one of the jobs done is to be performed. job is to be set by lottery system. DISTRIBUTION OF MARKS: ON SPOT JOB – 50, VIVA-VOCE – 50. |
| Civil Engineering Lab – II (Group – B) | Part – III Second Semester |  |

C I V I L   E N G I N E E R I N G   L A B  –  I I   ( G R O U P  –  A )

| Course Offered in Part - III 1st Semester | Course duration 17 weeks | 4 sessional contact periods per week |
| --- | --- | --- |

D E T A I L   C O U R S E   C O N T E N T

#### Module 1: Soil Mechanics

- Grain size analysis of soils – mechanical & wet analysis.

- To determine the liquid limit & plastic limit of soil.

- To determine the permeability of oil (by constant head / falling head method).

- Soil sampling and to determine the field density of soil (by core cutter / sand replacement method).

#### Module 2: Environmental Engineering

- To determine the turbidity of water by turbidity meter.

- To determine the solid content of water.

- To determine the electrical conductivity by conductivity bridge.

- To determine the pH of water by pH meter / colour compactor.

- To determine the alkalinity of water.

[At least four tests are to be performed, taking at least two from each module]

C I V I L   E N G I N E E R I N G   L A B  –  I I  ( G R O U P  –  B )

| Course Offered in Part III 2nd Semester | Course duration 17 weeks | 6 sessional contact periods per week |
| --- | --- | --- |

D E T A I L   C O U R S E   C O N T E N T

#### Module 3: Soil Mechanics

- To determine the moisture – density relation using light / heavy compaction (Proctor method).

- To determine the shear strength by direct shear test / triaxial compression test / unconfined compression test.

- Test for consolidation by consolidometer.

- C.B.R. Test

#### Module 4: Environmental Engineering

- To determine the arsenic content of water.

- To determine the iron content of water.

- To determine the chloride content of water.

- To determine the hardness of water.

- To determine the total coliform.

[At least six tests are  to be performed, taking at least two from each group]

__________

A D V A N C E D   T R A N S P O R T A T I O N   E N G G.

(ONE OF THE COURSES OFFERED AS ELECTIVE)

A D V A  N C E D   T R A N S P O R T A T I O N   E N G I N E E R I N G  -  I

| Subject Code CE / 5 / T6 / I ATE1 | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

Allotment of Class Hours

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | ROAD DRAINAGE | 6 |
| 2 | TRAFFIC ENGINEERING | 6 |
| 3 | HIGHWAY MAINTENANCE | 15 |
| 4 | TUNNELLING | 9 |
| 5 | BRIDGES | 9 |
| TOTAL: | 45 |

D E T A I L   C O U R S E   C O N T E N T

- Road Drainage

  - Necessity of road drainage works and cross drainage works; elements of water way determination.

  - Surface and sub-surface drains and storm water drains, location and details of typical side drain and side ditch for surface drainage, drainage of hill roads.

- Traffic Engineering

  - Traffic studies, methods of collection and representation of volume count data.

  - Traffic control devices – signs, marking and signals; their effectiveness and location, installation of sign, IRC standards.

  - Types of road junction and choice of each, traffic islands, pedestrian crossings, grade separation, segregation of traffic.

- Highway Maintenance

  - Common types of road failure – their causes and remedies.

  - Maintenance of shoulders and road side drainage.

  - Maintenance of low cost surfaces.

  - Maintenance of bituminous roads – patch work and resurfacing.

  - Maintenance of concrete roads – filling cracks, repairing of joints.

  - Maintenance of hill roads – causes and prevention of land slides.

- Tunnelling

  - Introduction – advantages and disadvantages.

  - Tunnel surveying – location of the centre line on the ground, transferring the centre line to the inside of the tunnel.

  - Drainage and ventilation of tunnels.

  - Typical section of tunnels for – (i) a national highway, (ii) single and double line broad gauge railway track.

- Bridges

  - Classification of bridges.

  - Classification of loading as per IRC.

  - Bridge site – investigation and hydrology; selection of site for a bridge; elementary knowledge of water way, linear water way, scour depth, clearance, economical span, afflux, cut water, ease water.

  - Bridge foundation – type of foundation – spread foundation, raft foundation, pile foundation and coffer dam.

  - Bridge protective works.

A D V A  N C E D   T R A N S P O R T A T I O N   E N G I N E E R I N G  -  I I

| Subject Code CE / 6 / T4 / ATE2 | Course offered in Part – III First Semester | Course Duration 17 weeks | 2 lecture contact periods per week | Full Marks 38 |
| --- | --- | --- | --- | --- |

Allotment of Class Hours

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 8 |
| 2 | AIRPORT LAYOUT | 6 |
| 3 | RUNWAY | 6 |
| 4 | AIRPORT PAVEMENTS | 6 |
| 5 | AIRPORT DRAINAGE | 4 |
| TOTAL: | 30 |

D E T A I L   C O U R S E   C O N T E N T

- Introduction

  - Classification of air ports – International and domestic.

  - Airport terminology – aerodrome, airfield and airport, airport capacity, runway, taxiway, hanger, terminal building, apron, control tower, approach zone, obstruction clearance line, landing area, instrument landing system, take off distance.

- Airport Layout

  - Planning, selection of site, factors affecting the site selection of airport.

  - Development of site, recommendation for airport development.

- Runway

Runway orientation, runway patterns, runway lengths and widths for various airports, correction for runway length.

- Airport Pavements

  - Flexible and rigid pavements.

  - Application of CBR and westergard method of design of pavement.

- Airport Drainage

  - Introduction, necessity of drainage, factors affecting the drainage system & capacity.

  - Types of drains – only name with brief description.

A D V A  N C E D   T R A N S P O R T A T I O N   E N G I N E E R I N G   L A B

| Subject Code CE / 6 / S5 / LATE | Course offered in Part – III First Semester | Course Duration 17 weeks | Full Marks 100 |
| --- | --- | --- | --- |
| CONTACT PERIODS 90 @ 6 sessional contact periods per week for 15 weeks | INTERNAL ASSESSMENT 12 periods | TOTAL 102 periods |

E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout Part – III Second Semester. Distribution of marks: Performance of Job – 35, Notebook – 15.

- External Assessment of 50 marks shall be held at the end of Part – III Second Semester on the entire syllabus. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: On spot job – 25, Viva-voce – 25.

D E T A I L   C O U R S E   C O N T E N T

At least any six of the following experiments are to be undertaken:—

- California Bearing Ratio (CBR) Test.

- Aggregate Crushing Test.

- Abrasion Tests (Los Angeles Abrasion Test).

- Impact Test.

- Flakiness Index / Elongation Index.

- Aggregate Water Absorption Test.

- Penetration Tests of Bitumen.

- Softening Point Tests of Bitumen.

- Ductility Test of Bitumen.

- Flash & Fire Point Test.

_______

C O N C R E T E   T E C H N O L O G Y

(ONE OF THE COURSES OFFERED AS ELECTIVE)

C O N C R E T E   T E C H N O L O G Y  -  I

| Subject Code CE / 5 / T7 / CT1 | Course offered in Part – III First Semester | Course Duration 17 weeks | 3 lecture contact periods per week | Full Marks 75 |
| --- | --- | --- | --- | --- |

Allotment of Class Hours

| CHAPTER | TOPICS | PERIODS |
| --- | --- | --- |
| 1 | INTRODUCTION | 3 |
| 2 | MATERIALS FOR CEMENT CONCRETE | 12 |
| 3 | PREPARATION OF CONCRETE | 21 |
| 4 | CONCRETE MIX DESIGN | 9 |
| TOTAL: | 45 |

D E T A I L   C O U R S E   CO N T E N T

- Introduction

General, definition of concrete, utility of the subject job opportunity.

- Materials for cement concrete

  - Cement: Manufacture & chemical composition, different types of cement, their physical and chemical properties & uses; test as per BIS for fineness, normal consistency of standard cement paste, initial and final setting time, soundness test, compressive strength test.

  - Aggregate – classification, sampling, specification for mechanical and physical properties of fine and coarse aggregates, standard tests as per BIS – sieve analysis of coarse and fine aggregate, specific gravity, water absorption, moisture content of coarse and fine aggregate, bulk density, loose and compacted, grading of aggregate, size of aggregates used for different purposes, proportioning of aggregates, deleterious materials in aggregates and their effect.

  - Water – quality of water, chemical properties, function, sources.

  - Use of chemicals and admixtures with properties and use. As recommended in relevant BIS : code of practice or SP.’23’.

- Preparation of concrete

  - Introduction – object of concrete preparation.

  - Stages involved in preparation of concrete – batching, mixing, transporting, placing, compacting, finishing – description of each with object, machinery used.

  - Proportioning and designation of concrete – Nominal mix and design mix, grade of concrete, BIS recommendation relating grade of concrete and nominal mix.

  - Workability and its measurement – Standard test, segregation and bleeding of concrete, factors influencing workability.

  - Water/cement ratio – Abraham law, effector strength, durability, workability, impermeability of concrete.

  - Properties of wet and hardened concrete.

  - Ordinary concrete and controlled concrete, preliminary test and work test.

  - Machinery used for concreting work – plant for handling cement and aggregate, machinery for mixing and transporting concrete, concrete mixers with types, machinery for compaction.

  - Tests on hardened concrete – non destructive test on concrete – general, usefulness of NDT, rebound method, ultrasonic pulse velocity method, pullout test.

  - Analysis of fresh concrete.

- Concrete mix design

- Introduction – object of mix design, design parameters.

- Factors influencing design of mix.

- Methods of mix design – arbitrary proportioning, method of trial mix, minimum void/maximum density method, fineness modulus method, mix design as per recommended guidelines of BIS.

C O N C R E T E   T E C H N O L O G Y  -  I I

| Subject Code CE / 6 / T5 / CT2 | Course offered in Part – III First Semester | Course Duration 17 weeks | 2 lecture contact periods per week | Full Marks 38 |
| --- | --- | --- | --- | --- |

Allotment of Class Hours

| 1 | QUALITY CONTROL | 3 |
| --- | --- | --- |
| 2 | SPECIAL CONCRETE | 10 |
| 3 | DETERIORATION AND RESTORATION OF CONCRETE | 12 |
| 4 | READY MIX CONCRETE | 5 |
| TOTAL: | 30 |

D E T A I L   C O U R S E   CO N T E N T

- Quality control

Purpose of control – factors affecting quality of concrete, cost effectiveness of quality control, BIS acceptance & rejection criteria.

- Special concrete

  - Air entrained concrete, light weight concrete, high density concrete, high strength concrete, fibre reinforced concrete, polymer concrete, high performance concrete.

  - Pre-cast concrete products – types, method of casting, uses.

  - Concreting under water, concreting in hot and cold weather.

  - Pre-stressed concrete – general, requirements of concrete used in prestressed concrete work, purpose of prestressed concrete, method of pre-stressing, relative advantages and disadvantages with R.C.C.

  - High grade concrete.

- Deterioration and restoration of concrete

  - Introduction, internal and external causes of deterioration of concrete, prevention of deterioration of concrete.

  - Corrosion of reinforcing steel – causes & prevention.

  - Maintenance & repair – repair materials – mortar, grouts, shotcrete, gunite, bonding agent, protective coating on concrete surface, protective coating on reinforcement, repair measures – assessment of damage, possible repair measures, structural strengthening, repair of cracks and honey combs, repair of columns & walls, repair of beams, repair of slabs.

- Ready mix concrete

C O N C R E T E   T E C H N O L O G Y   L A B O R A T O R Y

| Subject Code CE / 6 / S6 / LCT | Course offered in Part – III Second Semester | Course Duration 17 weeks | 6 sessional contact periods per week | Full Marks 100 |
| --- | --- | --- | --- | --- |
| CONTACT PERIODS 90 @ 6 sessional contact periods per week for 15 weeks | INTERNAL ASSESSMENT 12 periods | TOTAL 102 periods |

E X A M I N A T I O N   S C H E M E

- Continuous Internal Assessment of 50 marks is to be carried out by the teachers throughout Part – III Second Semester. Distribution of marks: Performance of Job – 35, Notebook – 15.

- External Assessment of 50 marks shall be held at the end of Part – III Second Semester on the entire syllabus. One job per student from any one of the jobs done is to be performed. Job is to be set by lottery system. Distribution of marks: On spot job – 25, Viva-voce – 25.

D E T A I L   C O U R S E   C O N T E N T

Experiment no. 1 is compulsory and any two from the rest are to be undertaken:—

- Mix design.

- Non-destructive testing by rebound hammer/pulse velocity.

- Fineness test of cement – by sieving / by determination of specific surface by air-permeability apparatus.

- Soundness test.

- Vee-bee consistometer test / compacting factor test.

_______

C i v i l   E n g i n e e r i n g   P r o j e c t   W o r k   &

S e m i n a r   o n

P r o j e c t   W o r k OR Any emerging Field of Civil Engineering

Courses offered in Part – III

O B J E C T I V E

Project Work is intended to provide opportunity for students to develop understanding of the interrelationship between different courses learnt in the entire diploma programme and to apply the knowledge gained in a way that enables them to develop & demonstrate higher order skills. The basic objective of a project class would be to ignite the potential of students’ creative ability by enabling them to develop something which has social relevance, again, it should provide a taste of real life problem that a diploma-holder may encounter as a professional. It will be appreciated if the polytechnics develop interaction with local industry and local developmental agencies viz. different Panchayet bodies, the municipalities etc. for choosing topics of projects and / or for case study. The course further includes preparation of a Project Report which, among other things, consists of technical description of the project. The Report should be submitted in two copies, one to be retained in the library of the institute. The Report needs to be prepared in computer using Word and CADD software wherever necessary.

Seminar on Project Work is intended to provide opportunity for students to present the Project Work in front of a technical gathering with the help of different oral, aural and visual communication aids which they learnt through different courses in the Parts – I & II of the diploma course. In the Seminar, students are not only expected to present their Project Work, but also to defend the same while answering questions arising out of their presentation.

G E N E R A L   G U I D E L I N E

Project Work is conceived as a group work through which the spirit of team building is expected to be developed. Students will be required to carry out their Project Works in groups under supervision of a lecturer of their core discipline who will work as a Project Guide. It is expected that most of the lecturers of the core discipline will act as project guide and each should supervise the work of at least two groups. Number of students per group will vary with the number of lecturers acting as Project Guide and student strength of that particular class, but it is preferred that this number does not exceed ten.

In the Part – III First Semester six sessional periods will be utilised for performing Project Work. In the Part – III Second Semester for the first twelve weeks, the four sessional periods allocated to ‘Project Work’ along with the single sessional period allocated to ‘Seminar on Project Work’ will be together utilised for Project work; whereas in the last three weeks, all these seven sessional periods allocated to ‘Project Work’ and ‘Seminar on Project Work’ will be utilised for performing Seminar. In ‘Seminar’ classes, all the teachers who are involved with imparting knowledge and skill to the students in their “Project” classes should participate along with all the students.

C O U RS E   &   E X A M I N A T I O N   S C H E D U L E

| SUBJECT CODE | NAME OF THE COURSES | COURSES OFFERED IN | COURSE DURATION | CONTACT PERIODS | MARKS ALLOTTED |
| --- | --- | --- | --- | --- | --- |
| CE / 5 & 6 / S3 / CEPW | Civil Engineering Project Work (Group – A) | Part – III First Semester | 15 Weeks | 90 contact periods @ 4 sessional ``contact periods per week | Continuous Internal Assessment of 100 marks is to be carried out by the teachers throughout the two semesters where marks allotted for assessment of sessional work undertaken in each semester is 50. Distribution of marks: Project Work – 50, Project Report – 25, Viva-voce –25. External assessment of 100 marks shall be held at the end of the Part – III Second Semester on the entire syllabi of Civil Engineering Project Work. The external examiner is to be from industry / engineering college / university / government organisation. Distribution of marks: Project Work – 25, Project Report – 25, Viva-voce – 50. |
|  | Civil Engineering Project Work (Group – B) | Part – III Second Semester | First 12 Weeks | 84 contact periods @ 7 ``sessional contact periods per week |  |
| CE / 6 / S4 / SMNR | Seminar on Civil Engineering Project Work | Part – III Second Semester | Last 2 Weeks | 21 contact periods @ 7 sessional contact periods per week | Continuous Internal Assessment of 25 marks for a particular group is to be awarded by their concerned Project Guide. External Assessment of 25 marks is to be awarded by External Examiner from Industry / Engineering College / Govt. Organization. |

T HE   P R O J E C T

Each group has to undertake a single project which has to be executed in Part – III First & Second Semesters.

Construction of a housing complex for MIG / HIG group for providing accommodation of say 100 families, each family has five members, is proposed as a topic for project. The relevant data and instructions are given below. However, other topics of equivalent weightage may be selected by the students in consultation with the Project Guide.

- Land Available: Introduction of mouza map prepared by the settlement department and mark the portion of project site by red ink as required. The existing G.L. of the land is 0.6m or (change year to year) below the crest of near by national highway/state highway to be filled up.

- Covered Area: It should not exceed 40 to 45% of the open area.

- Buildings: Three storied comprising six flats in each building unit. Masonry structure with 200mm thick brick masonry work. The plinth area of each unit is according to MIG / HIG norms. (Line plan of the building for each group may be finalised from the students of that group under guidance of teacher as per local municipal rules).

- The complex has a primary school inside. The school building is of three storied R.C.C. with a provision for another floor for future extension. (A line plan may be given for development).

- Roads: The main trunk road within the complex is 10m wide and cross roads are 6m wide. The building entry roads are brick pavement of 2m wide.

- Additional Infrastructure: At least one play ground for children, provision for one community centre and one library for the whole complex (only space for the same is to be shown in the layout plan).

## Students’ Job for Part – III First Semester

- To develop and to prepare a site location plan for the complex showing building units, roads with culverts, if any, water supply from tube well and reservoir, septic tank with connecting pipe lines arrangement, drainage of waste and boundary walls, etc.

- To prepare drawings (plan, elevation, short and long sections of a building unit).

- To prepare drawing for septic tank, internal roads, tube well and water reservoir (including design).

## Students’ Job for Part – III Second Semester

- To prepare drawings for school building as above with R.C.C. framed structures (Ref. may be made from SP-16 and other relevant publications of BIS).

- Quantity calculation of proposed building, earth filling & campus development, sanitary works, water supply works and internal roads of proposed project.

- To prepare an abstract of an estimated cost from item (i) above referring P.W.D. schedule of rates or local rates of the year. The electrical installation cost may be added to total cost in current cost percentage basis.

- To prepare construction schedule using bar chart technique.

- To develop and analyse a critical path method network for the job. Compute total float for the job activities, identifying the critical path and determine the time of completion of the job.

- To write a report for the work done above with an introduction mentioning a short history of the work from start to finish. It will also include an index page and student’s comments on the work. Report sheet and drawings are to be arranged as per working sequence and represent in a binding form.

- Application of some of the recommendations of CBRI and NBO in using non-conventional constructional materials and low cost techniques are desirable.

_______

G E N E R A L   v i v a – v o c e

| Subject Code CE / 6 / S7 / GVV | Course offered in Part – III Second Semester | Full Marks 100 |
| --- | --- | --- |

C O U R S E   C O N T E N T

The syllabi of all the theoretical and sessional subjects taught in the three years of diploma education.

E X A M I N A T I O N   S C H E M E

The Final Viva-Voce Examination shall take place at the end of the Part – III Second Semester. It is to be taken by one External and one Internal Examiner. The External Examiner is to be from industry / engineering college / university / government organisation and he / she should give credit out of 50 marks; whereas, the Internal Examiner should normally be the Head of the Department and he / she should give credit of 50 marks. In the absence of the Head of the Department the senior most lecturer will act as the Internal Examiner.

_______